## Sheet1
ITEM CODE | ITEM DESCRIPTION | BIN LOCATION | MIN | MAX
CONS149 | MILLROSE 71032 SOLDER HEAT SHIELD ** TORCH SHIELD 8 X 12IN (FIRE BLANKET)
MRP005 | MOEN 1224-13 REPLACEMENT CARTRIDGE (2 HANDLE) ** MOEN1224
112PVC-PIPE | 1-1/2 PVC PIPE PER FT ** 112.10PVCP
PLMIS020 | 1 SHORT METER COUPLING
CONS242 | WIRE NUT YELLOW 100PK ** WIRE NUT YELLOW 100PK
CPT033 | 5MFD OVAL CAPACITOR ** 5MFD 440/370 (P291-0503) OVAL CAPACITOR
CPT034 | 7.5MFD OVAL CAPACITOR ** 7.5MFD 440V OVAL CAPACITOR (P291-0754)
TWH009 | TANKLESS WATER HEATER DRAIN PAN ** TANKLESS WATER HEATER DRAIN PAN |  | 3 | 6
HVMIS048 | COMPRESSOR SOUND BLANKET
HVAQ013 | I-WAVE AIR CLEEANER ** I-WAVE AIR CLEEANER
EL017 | 60 AMP FUSED DISCONNECT ** 60 AMP FUSED DISCONNECT
TWH004 | HAYMAKER DESCALER KIT (35235)
HMF0003 | 20x25x4 Media Filter ** 20X25X4 Filter
HMF0002 | 20x20x4 Media Filter ** 20X20X4 Filter
SA-WH266 | RHEEM PROE50-T2-RH92 4432754 50GAL<br>TALL CLASSIC ELEC 240V lPH<br>4.5KW/4.5KW NON-SIM 2-WIRE UPPER<br>COP/ LOWER SS ELEMENT WTR HTR W/<br>T&amp;P VLV INSTALLED NAECA III 6 YEAR<br>TANK/PARTS 585/8H 201/4D
SA-WH267 | RHEEM PROE40 T2 RH95 CLASSIC 40G ELECTRIC TALL
34BLV052 | Resideo Water Leak Shutoff Valve w/ 3/4 NPT Ball Valve ** Resideo Water Leak Shutoff Valve w/ 3/4" NPT Ball Valve |  | 3 | 10
DIA005 | 60AMP NON-FUSED DISCONNECT ** 60AMP NON-FUSED DISCONNECT
HMB002 | SQD Homeline 60 Amp 2-Pole Circuit Breaker HOM260CP ** SQD Homeline 60 Amp 2-Pole Circuit Breaker HOM260CP
SA-WH261 | NAVIEN-NPE-180S2 TANKLESS S2SERIES
SA-WH262 | NAVIEN-NNPE-180A2 TANKLESS WATER HEATER
SA-WH250 | RHEEM PRO+G40-40N-RH62 630564 40GAL<br/>PRO CLASSIC PLUS WTR HTR 8 YEAR<br/>TANK/PARTS 63-l/4H 19-l/2D
SA-WH263 | RHEEM PRO+G50-40N-RH62 630588 50 GAL TALL<br/>NATURAL GAS 8YR TANK WTR HTR/PARTS 62-l/2H 21-l/2D
RHEEM PRO50P 36P RH 60 (PROPANE | RHEEM 641560 PROG50-36P-RH60 50GAL<br/>TALL CLASSIC LPG 36KBTU WTR HTR TO<br/>8400 ELEV NAECA III 6 YEAR<br/>TANK/PARTS 611/4H 201/2D
RHEEM PROE38 S2 RH95 SHORT ELEC | RHEEM PROE38-S2-RH95-B 660479 38GAL<br/>SHORT CLASSIC ELEC 240V lPH<br/>4.5KW/4.5KW NON-SIM 2-WIRE UPPER<br/>COP/ LOWER SS ELEMENT WTR HTR W/<br/>T&P INSTALLED & INSUL BLANKET NAECA<br/>III 6 YEAR TANK/PARTS 311/2H 23D
SA-WH270 | 55 gal. Tall 4.5W 2-Element On-Demand Electric Water Heater
HVMIS044 | LENOX RDS KIT
CPL1236A | 3/4' LT CONNECTOR ** A-14A 3/4' LT CONNECTOR
CPL1258A | 3/4 LT 90' ** A-15A 3/4" LT 90'
FUS003 | 20A DUAL ELEMENT FRN FUSE ** A-54B 20A DUAL ELEMENT FRN FUSE
FUS005 | 30A DUAL ELEMENT FRN FUSE ** A-54d 30A DUAL ELEMENT FRN FUSE
DIA1234A | 30 AMP FUSED DISCONNECT ** B-01G 30A FUS AC DISC
HVAQ016 | BLU QR UV STICK LIGHT
CNL1235A | 1/2 LT NM CONDUIT (FT) ** E-03 1/2" LT NM CONDUIT (FT) |  | 100 | 200
SA-WH269 | RHEEM PROE40 M2 RH93 ELECTRIC MEDIUM
STP020 | 3/8 X 3/8 SUPPLY STOP EXTENDER TEE ** 3/8 X 3/8 SUPPLY STOP EXTENDER TEE
STP021 | 3/8 X 1/4 SUPPLY STOP EXTENDER TEE ** 3/8 X 1/4 SUPPLY STOP EXTENDER TEE
MKF002 | Chateau 1-Handle Kitchen Faucet with Side Spray, CHROME - 7430SRS ** MOEN CHATEAU 1-HANDLE KITCHEN FAUCET WITH SIDE SPRAY |  | 0 | 0
SSB003 | 6 ROUND IRRIGATION VALVE BOX ** 6" ROUND IRRIGATION VALVE BOX |  | 1 | 2
SQH1345A | HOMELINE 30A 2P BREAKER HOM230
MKF001 | Arbor 1-Handle High-Arc Pulldown Kitchen Faucet, Spot-Resist Stainless - 7594SRS ** MOEN ARBOR 1-HANDLE PULLDOWN KITCHEN FAUCET |  | 0 | 0
WQ005 | Flow-Tech MAX Unit-Anti-scale device ** Flow-Tech |  | 3 | 3
DRP013 | DELTA RP4993 SEATS AND SPRINGS ** DELTA RP4993 SEATS AND SPRINGS | A1A005 | 1 | 3
DRP003 | DELTA RP46074 REPAIR CARTRIDGE (GRAY CARTRIDGE) ** DELTARP46074 | A1A010 | 1 | 2
MRP004 | MOEN 1200 BRASS OEM CARTRIDGE ** MOEN1200 | A1A015 | 2 | 4
MRP002 | MOEN 1222 POSI-TEMP CARTRIDGE ** MOEN1222 | A1A020 | 2 | 4
MRP001 | MOEN 1225-B CARTRIDGE ** MOEN1225 | A1A030 | 2 | 6
DRP005 | DELTA RP1740 ** DELTA RP1740 | A1A035 | 2 | 4
WHFL009 | 1 FIP x 1 FIP x 18 Stainless Steel Water Softener Connector | A1A040 | 5 | 10
WHFL015 | 3/4FIP X 24 SS WATER HEATER CONNECTOR ** 34.24 WHCONN | A1A055 | 6 | 12
WHFL013 | 3/4FIP x 18 SS WATER HEATER FLEX LINE ** 3/4FIP x 18 SS WATER HEATER FLEX LINE | A1A060 | 6 | 12
WHFL014 | 3/4FIP x 15 SS WATER HEATER FLEX LINE ** 3/4FIP x 15 SS WATER HEATER FLEX LINE | A1A065 | 6 | 12
KSR017 | WATER SOFTENER AIR GAP ** WATER SOFTENER AIR GAP | A1B0052 | 1 | 2
FAE006 | AERATOR #A01-020 FULL FLOW (6 PER TUBE) ** AERATOR (6 PER TUBE) | A1B010 | 1 | 3
SHA005 | 5 CHROME SHOWER HEAD ** 5" CHROME SHOWER HEAD | A1B015 | 1 | 2
LAV003 | WASTE AND OVERFLOW TRIM KIT ** WOTK | A1B020 | 1 | 1
MRP006 | MOEN 116653 POSI TEMP ** MOEN 116653 POSI TEMP | A1B025 | 1 | 2
KSR033 | BRUSHED NICKEL SCREW-IN SINK HOLE COVER | A1B031 | 1 | 2
KSR025 | SINK HOLE COVER SS | A1B032 | 1 | 2
SHA001 | 6 CHROME SHOWER ARM W/FLANGE ** 6" CHROME SHOWER ARM W/FLANGE | A1B035 | 1 | 2
SHA006 | CHROME DIV TUB SPOUT ** CDSPT | A1B040 | 1 | 2
SHA008 | TUB DIVERTER SPOUT 1/2 FIP FOR IPS WITH DIRECT THREADING ** TUB DIVERTER SPOUT 1/2 FIP | A1B045 | 1 | 2
SUP027 | 12 braided supply line 3/8compx5/8comp ** 12" braided supply line 3/8compx5/8comp | A1B050 | 1 | 3
SUP026 | 3/8 COMP X 7/8 TOILET SUPPLY LINE 20 ** 3/8 COMP X 7/8 TOILET SUPPLY LINE 20" | A1B055 | 2 | 4
STP022 | 1/2 COMP X 3/8OD 1/4 TURN ANGLE CHROME STOP (G2CR19L1X) ** 1/2 COMP X 3/8OD 1/4 TURN ANGLE CHROME STOP (G2CR19L1X) | A1B060 | 6 | 12
STP046 | 1/2 COMP X 1/4 COMP 1/4 CHROME ANGLE STOP (KTCR09X-C) ** BRASSCRAFT (G2CR09X-C) 1/2X1/4OD COMPXCOMP CHROME PLATED QUARTER TURN ANGLE STOP | A1B065 | 2 | 2
STP034 | 1/2 FIP X 3/8 COMP ANGLE STOP 1/4 TURN (KTR17X) ** 12F.38C CAS (KTR17X) | A1B070 | 6 | 12
STP041 | 1/2 COMP X 3/8 COMP 1/4 TURN CHROMW STOP (KTCR14X-C) ** 1/2 COMP X 3/8 COMP 1/4 TURN CHROMW STOP (KTCR14X-C) | A1B075 | 4 | 8
STP044 | 1/2 COMP X 3/8OD X 3/8 OD 1/4 TURN DUAL BRASS STOP (CR1901DVX-R) ** 1/2 COMP X 3/8OD X 3/8 OD 1/4 TURN DUAL BRASS STOP (CR1901DVX-R) | A1B080 | 2 | 2
STP043 | 1/2 COMP X 3/8OD X 3/8 OD 1/4 TURN DUAL BRASS STOP (CR1901LRX-R10) ** 1/2 COMP X 3/8OD X 3/8 OD 1/4 TURN DUAL BRASS STOP (CR1901LRX-R10) | A1B085 | 2 | 4
HB020 | 1/2 MIP 1/4 TURN NO KINK HOSE BIBB ** 1/2 MIP 1/4 TURN NO KINK HOSE BIBB | A1B0901 | 3 | 10
HB017 | 1/2 FIP 1/4 TURN NO KINK HOSE BIBB ** 1/2 FIP 1/4 TURN NO KINK HOSE BIBB | A1B0902 | 6 | 12
HB022 | 3/4 MIP 1/4 TURN NO KINK HOSE BIBB ** 3/4 MIP 1/4 TURN NO KINK HOSE BIBB | A1B0903 | 2 | 4
HB021 | 3/4 FIP 1/4 TURN NO KINK HOSE BIBB ** 3/4 FIP 1/4 TURN NO KINK HOSE BIBB | A1B0904 | 2 | 4
12BLV003 | 1/2 FIP BALL VALVE ** 12TBV | A1C005 | 2 | 4
34BLV007 | Apollo 95ALF-104-01 Lead Free Stop and Waste Ball Valve, 3/4 in, NPT, Brass Body ** 3/4" IPS 2PC 600CWP STOP & WASTE BALL VALVE | A1C010 | 2 | 4
34BLV005 | 3/4 SWT BALL VALVE ** 34SBVND | A1C015 | 2 | 4
34BLV004 | 3/4 BUTTERFLY BALL VALVE ** 34BFBV | A1C020 | 2 | 4
1BLV005 | 1 FIP BALL VALVE | A1C025 | 2 | 4
1BLV003 | 1 SWEAT BALL VALVE ** 1SBVND | A1C030 | 2 | 4
1GC | 1 FIP GAS COCK / BALL VALVE ** 1GC | A1C035 | 2 | 4
STR004 | 3/4 BRONZE WYE STRAINER ** 3/4 BRONZE WYE STRAINER | A1C040 | 1 | 2
STR002 | 1 BRONZE WYE STRAINER ** 1 BRONZE WYE STRAINER | A1C045 | 1 | 2
12BR017 | 1/2 THRREADED SPRING CHECK VALVE | A1C050 | 1 | 2
34BI012 | 3/4 x 1/2 BLACK REDUCER ** 34.12BR | A1C050 | 3 | 7
34BR023 | 3/4 THREADED SPRING CHECK VALVE | A1C055 | 1 | 2
HB019 | 3/4 VACUUM BREAKER HOSE BIBB ** Hose BIbb Vacuum Breaker | A1C060 | 6 | 12
12GC | 1/2 GAS COCK ** 1/2 GAS BALL VALVE | A1C065 | 5 | 10
34GC | 3/4 GAS COCK ** 3/4 GAS BALL VALVE | A1C070 | 3 | 6
BHR011 | 1/2 MIP BOILER DRAIN ** 12MBD | A1C075 | 2 | 4
BHR012 | 1/2 FIP BOILER DRAIN ** 12FBD | A1C080 | 2 | 4
BHR014 | 3/4 MIP BOILER DRAIN ** 34MBD | A1C085 | 2 | 5
BHR016 | 3/4 FIP BOILER DRAIN ** 34FBD | A1C090 | 2 | 4
HB023 | 1/2 IPS X HOSE 1/4 FLANGED HOSE BIBB ** 1/2 IPS X HOSE 1/4 FLANGED HOSE BIBB | A1C095 | 1 | 2
12BIN011 | 1/2 x 6 BLACK NIPPLE ** 12.6BNIPPLE | A1C120 | 5 | 11
SSB007 | CI PROP OWNER CUTOFF LID COA SPEC - 3471723 | A2A025 | 1 | 1
SSB004 | 10 ROUND IRRIGATION VALVE BOX ** 10" ROUND IRRIGATION VALVE BOX | A2A035 | 1 | 3
PLMMIS016 | 12 RECTANGLE VALVE BOX (NDS1200) | A2A040 | 1 | 2
34BLV001 | 3/4 RADIANT BRAND BALL VALVE ** 3/4 RADIANT BRAND BALL VALVE | A2B005 | 4 | 8
PLMMIS014 | 2 RAIN COLLAR ROOF FLASHING | A2B010 | 2 | 5
TWH010 | TANKLESS EXPANSION TANK ** TANKLESS EXPANSION TANK | A2B015 | 1 | 1
WHRP001 | 3/4 WATTS VACUUM RELIEF VALVE ** 34VRV | A2B0201 | 2 | 4
WHTP004 | 3/4" POPPET STYLE T&P VALVE | A2B0202 | 1 | 2
WHRP018 | RHEEM SP12575B TEMP/ PRESS RELIEF VLV ** RHEEM SP12575B TEMP/ PRESS RELIEF | A2B0202 | 2 | 4
WHTP003 | 3/4 T&P VALVE W/ 2 EXTENDED INLET ** 3/4" T&P VALVE W/ 2" EXTENDED INLET | A2B0203 | 1 | 2
WHDU009 | 1 FIP DIEL UNION ** 1FDU | A2B0251 | 1 | 2
WHDU002 | 3/4 FIPXC DIEL UNION ** 34FDU | A2B0253 | 1 | 2
WHRP020 | UNIVERSAL FLAME SENSOR (62-23543-02) ** UNIVERSAL FLAME SENSOR (62-23543-02) | A2B0302 | 0 | 0
WHTC003 | 36 COP THERMOCOUPLE ** 36"THERM | A2B0304 | 1 | 2
TFR003 | 4 PVC CLOSET FLANGE SPACER KIT ** 4 PVC CLOSET FLANGE SPACER KIT | A2B035 | 1 | 2
NH001 | 1-1/2 NO-HUB COUPLING ** 1-1/2 NO HUB COUPLING | A2B040 | 3 | 6
NH006 | 2 STANDARD NO-HUB COUPLING | A2B045 | 3 | 6
NH007 | 3 STANDARD NO-HUB COUPLING | A2B050 | 1 | 2
PLU124 | 4" NO HUB CP44 PL/ST x PL | A2B055 | 1 | 2
NH002 | 2 STRONGBACK (4 BAND) COUPLING | A2B060 | 3 | 6
FRN006 | 3 CI/PL-CI/PL FERNCO ** 3FC | A2B065 | 3 | 5
NH004 | 4 STRONGBACK (4 BAND) COUPLING | A2B070 | 3 | 7
GF007 | 3/4MIP X 3/4 MIP X24 GAS FLEX LINE ** 3/4MIP X 3/4 MIP X24 GAS FLEX LINE | A2C005 | 1 | 4
GF006 | 3/4MIP X 3/4 MIP X36 GAS FLEX LINE ** 3/4MIP X 3/4 MIP X36 GAS FLEX LINE | A2C005 | 1 | 1
GF008 | 3/4MIP X 3/4 FIP X 18 GAS FLEX (CSSB21-18) ** 3/4MIP X 3/4 FIP X 18 GAS FLEX (CSSB21-18) | A2C010 | 1 | 3
GF005 | 1/2MIP X 1/2FIP 36 GAS FLEX (5/8OD) ** 12.36YGFL | A2C015 | 6 | 12
GF002 | 1/2 x 24 YELLOW GAS FLEX (EFGC012YE101124) ** 12.24TGFL (EFGC012YE101124) | A2C020 | 3 | 6
WHA011 | 3/4 TACO LEAK BREAKER (LB075H1LF) ** 3/4 TACO LEAK BREAKER (LB075H1LF) | A2C025 | 2 | 5
TWH002 | TANKLESS SERVICE VALVE KIT ** TLIK(3420RAB) | A2C030 | 1 | 2
KIT038 | ICEMAKE BOX W/ 1/4 TURN SWT ARRESTOR | A2C035 | 1 | 2
WMB005 | 1/2 SWT 1/4 TURN RED WASHING MACHINE VALVE | A2C0401 | 1 | 2
WMB006 | 1/2 SWT 1/4 TURN BLUE WASHING MACHINE VALVE | A2C0402 | 1 | 2
WMB002 | OATEY WASHER BOX W/VALVES/ARRESTOR (38540) | A2C045 | 2 | 4
PLMMIS013 | 3/4 BRASS HORT MTR COUPLING | A2C050 | 1 | 2
PLMMIS001 | 3/4 X 8 BRASS WATER METER COUPLING (METER NIPPLE) ** 3/4 X 8 BRASS WATER METER COUPLING (METER NIPPLE) | A2C055 | 2 | 4
PLU048 | 2 TEST BALL | A2C060 | 1 | 3
TFR002 | 4X3 PVC CLOSET FLANGE W/SS SWIVEL RING ** 4X3 PVC CLOSET FLANGE W/SS SWIVEL RING | A2C070 | 1 | 3
TFR001 | 3 PVC CLOSET FLANGE W/SS RING ** 3" PVC CLOSET FLANGE W/SS RING | A2C075 | 1 | 2
TFR013 | 4 BRASS CLOSET FLANGE ** 4 BRASS CLOSET FLANGE | A2C0801 | 2 | 4
TFR010 | 4 BRASS DEEP CLOSET FLANGE ** 4" BRASS DEEP CLOSET FLANGE | A2C0802 | 1 | 3
2PVC032 | 2 PVC TOM CAP ** 2 PVC TOM CAP | A3A0051 | 1 | 1
PLU050 | 3 TOM CAP | A3A0052 | 1 | 1
PLU053 | 4 TOM CAP | A3A0053 | 1 | 1
3PVC022 | 3 PVC DWV RAISED CLEANOUT PLUG ** 3 PVC DWV RAISED CLEANOUT PLUG | A3A010 | 5 | 10
3PVC008 | 3 PVC COUPLING ** 3PVCC | A3A015 | 5 | 10
3PVC009 | 3 PVC SAN TEE ** 3PVCST | A3A020 | 1 | 1
3PVC023 | 3 PVC DWV WYE COMBO ** 3 PVC DWV WYE COMBO | A3A025 | 1 | 3
3PVC05 | 3 PVC WYE ** 3PVCY | A3A030 | 1 | 3
3PVC007 | 3 PVC ST 22 ** 3PVCS22 | A3A035 | 2 | 4
3PVC006 | 3 PVC 22 ** 3PVC22 | A3A040 | 2 | 4
3PVC004 | 3 PVC ST 45 ** 3PVCS45 | A3A045 | 2 | 4
3PVC002 | 3 PVC 45 ** 3PVC45 | A3A050 | 2 | 4
3PVC019 | 3 PVC LONGTURN ST 90 ** 3PVCLTS90 | A3A055 | 1 | 2
3PVC016 | 3 PVC LONGTURN 90 ** 3PVCLT90 | A3A060 | 1 | 3
3PVC013 | 3 PVC DWV FEMALE ADAPTER ** 3 PVC DWV FEMALE ADAPTER | A3A065 | 2 | 5
2PVC030 | 2 PVC DWV RAISED CLEANOUT PLUG ** 2 PVC DWV RAISED CLEANOUT PLUG | A3B005 | 3 | 6
2PVC035 | 2 PVC DWV MALE ADAPTER ** 2PVCMA | A3B065 | 2 | 6
2PVC008 | 2 PVC COUPLING ** 2PVCC | A3C010 | 3 | 6
114PVC013 | 1-1/4 PVC CAP ** 1-1/4 PVC CAP | A3C010 | 2 | 6
112PVC032 | 1-1/2 PVC DWV CAP (THREADED) ** 1-1/2 PVC DWV CAP (THREADED) | A3C010 | 2 | 6
12PVC80005 | 1/2 SCH80PVC MALE ADAPTER ** 12SCH80MA | A3C015 | 4 | 8
2PVC013 | 2 PVC SAN TEE ** 2PVCST | A3C015 | 2 | 4
112PVC033 | 1-1/2 X 1-1/4 PVC DWV BUSHING ** 1-1/2 X 1-1/4 PVC DWV BUSHING | A3C015 | 1 | 4
2PVC022 | 2 PVC WYE ** 2PVCY | A3C020 | 1 | 1
34PVC019 | 3/4 X 1/2 SCH80PVC BUSHING ** 34.12SCH80B | A3C020 | 2 | 4
112PVC028 | 1-1/2 PVC CAP ** 1-1/2 PVC CAP | A3C020 | 1 | 2
112PVC029 | 1-1/2 PVC DWV RAISED CLEANOUT PLUG ** 1-1/2 PVC DWV RAISED CLEANOUT PLUG | A3C025 | 1 | 1
112PVC015 | 1-1/2 PVC COUPLING ** 112PVCC | A3C030 | 1 | 2
2PVC009 | 2 PVC ST 45 ** 2PVCS45 | A3C035 | 2 | 5
112PVC025 | 1 1/2 PVC SAN TEE ** 112PVCST | A3C035 | 1 | 3
2PVC005 | 2 PVC 45 ** 2PVC45 | A3C040 | 3 | 6
112PVC023 | 1-1/2 PVC WYE ** 112PVCY | A3C040 | 1 | 2
2PVC010 | 2 PVC ST 90 ** 2PVCS90 | A3C045 | 2 | 4
112PVC018 | 1-1/2 PVC ST 22 ** 112PVSS22 | A3C045 | 1 | 2
112PVC017 | 1-1/2 PVC 22 ** 112PVC22 | A3C050 | 3 | 6
2PVC006 | 2 PVC 90 ** 2PVC90 | A3C050 | 6 | 12
2PVC016 | 2 PVC LONGTURN 90 ** 2PVCLS90 | A3C055 | 3 | 6
112PVC012 | 1-1/2 PVC 45 ST ** 112PVCS45 | A3C055 | 5 | 10
112PVC013 | 1-1/2 PVC 45 ** 112PVC45 | A3C060 | 3 | 6
2PVC018 | 2 PVC FIP ADAPTER ** 2PVCFA | A3C060 | 1 | 3
112PVC016 | 1-1/2 PVC ST 90 ** 112PVCS90 | A3C065 | 2 | 8
112PVC014 | 1-1/2 PVC 90 ** 112PVC90 | A3C070 | 4 | 8
2PVC019 | 2 PVC GLUE P-TRAP ** 2PVCPT | A3C070 | 1 | 1
112PVC027 | 1-1/2 LONG TURN 90 ** 112PVCLT90 | A3C075 | 1 | 1
112PVC026 | 1-1/2 PVC FIP ADPT ** 112PVCFA | A3C080 | 1 | 1
3PVC018 | 3 X 2 PVC BUSHING ** 3.2PBVB | A3C080 | 1 | 2
112PVC021 | 1-1/2 PVC DWV MALE ADAPTER ** 112PVCMA | A3C085 | 2 | 6
112PVC022 | 1-1/2 PVC GLUE P-TRAP ** 112PVCPT | A3C090 | 1 | 2
2PVC026 | 2 x 1-1/2 PVC BUSHING ** 2.112 PVC BUSHING | A3C095 | 3 | 6
FRN002 | 1-1/2 x 1-1/4 CI/PL FERNCO ** 112.114FC | A3D005 | 2 | 4
FRN005 | 2 CI/PL-CI/PL FERNCO ** 2FC | A3D010 | 1 | 4
PD001 | 1-1/2 JIM CAP | A3D0151 | 1 | 2
PD004 | 2 JIM CAP | A3D0152 | 1 | 2
PD007 | 3 JIM CAP | A3D0153 | 1 | 2
PD005 | 4 JIM CAP | A3D0154 | 1 | 2
12PVC010 | 1/2 PVC SLIP PVC CAP ** 1/2 SCH40 PVC CAP | A3D020 | 5 | 10
12PVC018 | 1/2 PVC COUPLING ** 12PVCC | A3D025 | 5 | 10
12PVC006 | 1/2 PVC 90 ** 12PVC90 | A3D035 | 8 | 16
TWH001 | 1/2 SOCKET X FEMALE ADAPTER (TANKLESS) ** 12PVCS.FA (TANKLESS) | A3D040 | 1 | 2
12PVC024 | 1/2 PVC MALE ADAPTER ** 1/2 SCH40 MALE ADAPTER | A3D045 | 5 | 10
34PVC013 | 3/4 PVC CAP ** 34PVCGK | A3D055 | 8 | 15
34PVC016 | 3/4 PVC THREADED CAP ** 3/4 PVC THREADED CAP | A3D060 | 4 | 6
34PVC006 | 3/4 PVC COUPLING ** 34PVC | A3D065 | 8 | 15
34PVC012 | 3/4 PVC TEE ** 34PVCT | A3D070 | 8 | 15
34PVC011 | 3/4 PVC 45 ** 34PVC45 | A3D075 | 8 | 15
34PVC014 | 3/4 PVC ST 90 ** 34PVCS90 | A3D080 | 6 | 13
34PVC007 | 3/4 PVC 90 ** 34PVC90 | A3D085 | 8 | 15
34PVC009 | 3/4 PVC FIP ** 34PVCFA | A3D090 | 5 | 10
34PVC008 | 3/4 PVC MIP ** 34PVCMA | A3D095 | 8 | 15
1PVC007 | 1 PVC 45 ELBOW ** 1PVC45 | A3D105 | 2 | 4
1PVC006 | 1 pvc elbow st 90 ** 1" pvc elbow st 90 | A3D110 | 1 | 2
1PVC009 | 1 PVC 90 ** 1PVC90 | A3D115 | 4 | 8
114PVC80008 | 1-1/4X1 SCH80 BUSHING ** 114.1SCH80B | A4B005 | 2 | 4
114PVC80005 | 1-1/4 PVCSCH80 COUPLING ** A-32B 1-1/4" PVCSCH80 COUPLING | A4B010 | 2 | 4
114PVC80006 | 1-1/4 SCH80 TEE ** 114SCH80T | A4B015 | 1 | 4
114PVC80002 | 1-1/4 SSCH80 45 ** 114SCH8045 | A4B020 | 1 | 4
114PVC80001 | 1-1/4 SCH80 90 ** 114SCH8090 | A4B025 | 2 | 4
114PVC80003 | 1-1/4 PVCSCH80 MALE ADPTR ** A-32A 1-1/4" PVCSCH80 MALE ADPTR | A4B030 | 2 | 4
112PVC80002 | 1-1/2X1-1/4 SCH80 BUSHING ** 112.114SCH80B | A4B035 | 2 | 4
112EPVCSCH80COUP | 1-1/2 PVCSCH80 COUPLING ** A-37B 1-1/2" PVCSCH80 COUPLING | A4B040 | 2 | 4
1PVC80011 | 1 1/2X6 SCH80PVC NIPPLE ** 112.6SCH80N | A4B045 | 1 | 1
112PVC80003 | 1-1/2 SCH80PVC 45 | A4B050 | 2 | 4
112PVC80001 | 1-1/2 SCH 80 90 ** 112SCH8090 | A4B055 | 2 | 4
2PVC80001 | 2 SCH80 CAP ** 2SCH80K | A4B070 | 2 | 5
4PVC019 | 4 PVC DWV 2 WAY CLEAN OUT ** 4 PVC DWV 2 WAY CLEAN OUT | A4C005 | 1 | 1
34PVC80004 | 3/4 SCH80PVC CAP ** 34SCH80K | A4C025 | 2 | 4
34PVC8008 | 3/4 SCH80PVC COUPLING | A4C030 | 4 | 8
34PVC018 | 3/4X8 SCH80PVC NIPPLE ** 34.8SCH80 NIPPLE | A4C040 | 3 | 5
34PVC80003 | 3/4 SCH80PVC 45 ELBOW ** 34SCH8045 | A4C045 | 4 | 8
34PVC8007 | 3/4 SCH80PVC MALE ADAPTER | A4C050 | 4 | 8
34PVC80001 | 3/4 SCH80PVC 90 ELBOW ** 34SCH8090 | A4C050 | 8 | 16
1PVC80001 | 1X3/4 SCH80OVC BUSHING ** 134SCH80B | A4C055 | 4 | 8
1PVC80009 | 1 SCH80PVC CAP ** 1SCH80K | A4C060 | 2 | 4
1PVC80004 | 1 PVCSCH80 COUPLING ** A-25B 1" PVCSCH80 COUPLING | A4C065 | 4 | 8
PLMMIS003 | 1X8 BRASS METER NIPPLE ** 1X8 BRASS METER NIPPLE | A4C065 | 1 | 2
1PVC80010 | 1X8 SCH80PVC NIPPLE ** 1X8SCH80N | A4C0702 | 2 | 4
1PVC80008 | 1 SCH80PVC TEE ** 1SCH80T | A4C075 | 2 | 4
2PVC036 | 2 PVC DWV DOUBLE FIXTURE FITTING ** 2 PVC DWV DOUBLE FIXTURE FITTING | A4C075 | 1 | 1
1PVC80007 | 1 SCH80PVC 45 ELBOW ** 1SCH8045 | A4C080 | 4 | 8
1PVC80006 | 1 SCH80PVC 90 ELBOW ** 1SCH8090 | A4C085 | 7 | 14
1PVC80002 | 1 PVCSCH80 MALE ADPTR ** A-25A 1" PVCSCH80 MALE ADPTR | A4C095 | 4 | 8
4PVC018 | 4 X 3 PVC DWV CLOSET BEND 90 ** 4 X 3 PVC DWV CLOSET BEND 90 | A4D005 | 1 | 2
4PVC024 | 4 PVC DWV RAISED CLEANOUT PLUG ** 4 PVC DWV RAISED CLEANOUT PLUG | A4D010 | 2 | 4
4PVC012 | 4 PVC COUPLING ** 4PVCC | A4D015 | 3 | 7
4PVC013 | 4 PVC DWV SAN TEE ** 4 PVC DWV SAN TEE | A4D020 | 1 | 1
4PVC010 | 4 PVC DWV COMBO ** 4 PVC DWV COMBO | A4D025 | 1 | 4
4PVC009 | 4 PVC ST 22 ** 4PVCS22 | A4D030 | 3 | 6
4PVC008 | 4 PVC 22 ** 4PVC22 | A4D035 | 3 | 6
4PVC006 | 4 PVC ST 45 ** 4PVCS45 | A4D040 | 2 | 4
4PVC004 | 4 PVC 45 ** 4PVC45 | A4D045 | 3 | 6
4PVC025 | 4 PVC DWV LONG SWEEP ST 90 | A4D050 | 1 | 2
4PVC014 | 4 PVC LONGTURN 90 ** 4PVCLT90 | A4D055 | 1 | 3
4PVC015 | 4 PVC DWV FEMALE ADAPTER ** 4 PVC DWV FEMALE ADAPTER | A4D060 | 3 | 5
1BI010 | 1 BLACK MI CAP IMPORT ** 1BK | B1A005 | 1 | 3
1BI005 | 1 BLACK MI 90 ELL IMPORT ** 1B90 | B1A010 | 2 | 5
12BIN013 | 1/2 x 10 BLACK NIPPLE ** 12.10BNIPPLE | B1A035 | 3 | 6
12BIN001 | 1/2 x CLOSE BLACK NIPPLE ** 12.CBNIPPLE | B1B0151 | 6 | 12
12BIN002 | 1/2 x 1-1/2 BLACK NIPPLE ** 12.112BNIPPLE | B1B0152 | 2 | 4
12BIN003 | 1/2 x 2 BLACK NIPPLE ** 12.2BNIPPLE | B1B0153 | 5 | 9
12BIN004 | 1/2 x 2-1/2 BLACK NIPPLE ** 12.212BNIPPLE | B1B0154 | 2 | 4
12BIN005 | 1/2 x 3 BLACK NIPPLE ** 12.3BNIPPLE | B1B0155 | 6 | 11
12BIN006 | 1/2 x 3-1/2 BLACK NIPPLE ** 12.312BNIPPLE | B1B0156 | 2 | 4
34BRN007 | 3/4 x 4 RED BRASS NIPPLE ** 34.4BRNI | B1B0201 | 3 | 6
34BRN008 | 3/4 x 4-1/2 RED BRASS NIPPLE ** 34.412BRNI | B1B0202 | 3 | 6
34BRN009 | 3/4 x 5 RED BRASS NIPPLE ** 34.5BRNI | B1B0203 | 3 | 6
34BRN010 | 3/4 x 5-1/2 RED BRASS NIPPLE ** 34.512BRNI | B1B0204 | 3 | 6
34BRN011 | 3/4 x 6 RED BRASS NIPPLE ** 34.6BRNI | B1B0205 | 3 | 6
12BIN007 | 1/2 x 4 BLACK NIPPLE ** 12.4BNIPPLE | B1B021 | 4 | 8
12BIN008 | 1/2 x 4-1/2 BLACK NIPPLE ** 12.412BNIPPLE | B1B022 | 2 | 4
12BIN009 | 1/2 x 5 BLACK NIPPLE ** 12.5BNIPPLE | B1B023 | 2 | 4
12BIN010 | 1/2 x 5-1/2 BLACK NIPPLE ** 12.512BNIPPLE | B1B024 | 2 | 4
1BRN002 | 1 X 2 BRASS NIPPLE ** 1 X 2 BRASS NIPPLE | B1B0251 | 2 | 4
1BRN003 | 1 X 3 BRASS NIPPLE ** 1 X 3 Brass Nipple | B1B0252 | 2 | 4
12BIN012 | 1/2 x 8 BLACK NIPPLE ** 12.8BNIPPLE | B1B030 | 3 | 6
12BI014 | 1/2 BLACK MI CAP ** 12BK | B1B030 | 6 | 13
12BI009 | 1/2 BLACK SQ HD PLUG ** 12BP | B1B035 | 2 | 4
12BIN014 | 1/2 x 12 BLACK NIPPLE ** 12.12BNIPPLE | B1B040 | 4 | 8
12BI010 | 1/2 BLACK MI RH COUPLING ** 12BCPL | B1B040 | 8 | 16
12BI013 | 1/2 BLACK MI TEE ** 12BT | B1B045 | 6 | 13
34BIN001 | 3/4 x CLOSE BLACK NIPPLE ** 34.CBNIPPLE | B1B0451 | 4 | 8
34BIN002 | 3/4 x 1-1/2 BLACK NIPPLE ** 34.112BNIPPLE | B1B0452 | 2 | 4
34BIN003 | 3/4 x 2 BLACK NIPPLE ** 34.2BNIPPLE | B1B0453 | 4 | 8
34BIN004 | 3/4 x 2-1/2 BLACK NIPPLE ** 34.212BNIPPLE | B1B0454 | 2 | 4
34BIN005 | 3/4 x 3 BLACK NIPPLE ** 34.3BNIPPLE | B1B0455 | 4 | 8
34BIN006 | 3/4 x 3-1/2 BLACK NIPPLE ** 34.312BNIPPLE | B1B0456 | 2 | 4
12BI003 | 1/2 BLACK MI 90 ST ELL ** 12BS90 | B1B050 | 4 | 8
34BIN007 | 3/4 x 4 BLACK NIPPLE ** 34.4BNIPPLE | B1B0501 | 2 | 4
34BIN008 | 3/4 x 4-1/2 BLACK NIPPLE ** 34.412BNIPPLE | B1B0502 | 2 | 4
34BIN009 | 3/4 x 5 BLACK NIPPLE ** 34.5BNIPPLE | B1B0503 | 2 | 4
34BIN010 | 3/4 x 5-1/2 BLACK NIPPLE ** 34.512BIN | B1B0504 | 2 | 4
12BI008 | 1/2 BLACK MI 90 ELL ** 12B90 | B1B055 | 8 | 16
34BIN011 | 3/4 x 6 BLACK NIPPLE ** 34.6BNIPPLE | B1B055 | 3 | 7
34BIN014 | 3/4 x 12 BLACK NIPPLE ** 34.12BNIPPLE | B1B060 | 2 | 4
34BI006 | 3/4 BLACK MI CAP ** 34BK | B1B065 | 3 | 7
1BIN011 | 1X12 BLK STL NIP ** 1X12 BLK STL NIP | B1B065 | 2 | 4
34BI001 | 3/4 BLACK COUPLING ** 34BC | B1B070 | 2 | 4
12CPVC003 | 1/2 CPVC CAP ** 1/2 CPVC CAP | B1B0701 | 2 | 4
12CPVC001 | 1/2 CPVC 90 ** 1/2 CPVC 90 | B1B0702 | 4 | 8
34CPVC002 | 3/4 CPVC COUPLING ** 34CPVCC | B1B0703 | 4 | 8
34CPVC003 | 3/4 CPVC 45 ** 3/4 CPVC 45 | B1B0704 | 4 | 8
34CPVC001 | 3/4 CPVC 90 ** 34CPVC90 | B1B0705 | 4 | 8
34BI007 | 3/4 BLACK MI TEE ** 34BT | B1B075 | 2 | 4
WHA005 | 3/4 SS MIP X CPVC ADAPTER ** 3/4 CPVC REINFORCED SS MALE ADAPTER | B1B0751 | 4 | 8
1CPVC008 | 1 CPVC CAP ** 1 CPVC CAP | B1B0752 | 4 | 8
1CPVC001 | 1 CPVC COUPLING ** 1 CPVC COUPLING | B1B0753 | 4 | 8
1CPVC003 | 1 CPVC 45 ** 1 CPVC 45 | B1B0754 | 4 | 8
1CPVC004 | 1 CPVC 90 ** 1 CPVC 90 | B1B0755 | 4 | 8
WHA018 | 1 SS MIP X CPVC ADAPTER | B1B0756 | 2 | 6
WHA012 | 1X3/4 METALHEAD CPVC X BRASS ADAPTER ** 1X3/4 METALHEAD CPVC X BRASS ADAPTER (646-4308) | B1B080 | 3 | 6
34BI005 | 3/4 BLACK MI 90 ST ELL ** 34BS90 | B1B080 | 2 | 4
34BI004 | 3/4 BLACK MI 90 ELL ** 34B90 | B1B085 | 6 | 12
12BRN001 | 1/2 x CLOSE RED BRASS NIPPLE ** 12.CBRNI | B1C0051 | 3 | 6
12BRN002 | 1/2 x 1-1/2 RED BRASS NIPPLE ** 12.112BRNI | B1C0052 | 3 | 6
12BRN003 | 1/2 x 2 RED BRASS NIPPLE ** 12.2BRNI | B1C0053 | 3 | 6
12BRN004 | 1/2 x 2-1/2 RED BRASS NIPPLE ** 12.212BRNI | B1C0054 | 3 | 6
12BRN005 | 1/2 x 3 RED BRASS NIPPLE ** 12.3BRNI | B1C0055 | 3 | 6
12BRN006 | 1/2 x 3-1/2 RED BRASS NIPPLE ** 12.312BRNI | B1C0056 | 3 | 6
12BRN007 | 1/2 x 4 RED BRASS NIPPLE ** 12.4BRNI | B1C0101 | 3 | 6
12BRN008 | 1/2 x 4-1/2 RED BRASS NIPPLE ** 12.412BRNI | B1C0102 | 3 | 6
12BRN009 | 1/2 x 5 RED BRASS NIPPLE ** 12.5BRNI | B1C0103 | 3 | 6
12BRN010 | 1/2 x 5-1/2 RED BRASS NIPPLE ** 12.512BRNI | B1C0104 | 3 | 6
12BRN011 | 1/2 x 6 RED BRASS NIPPLE ** 12.6BRNI | B1C0105 | 3 | 6
34BRN001 | 3/4 x CLOSE RED BRASS NIPPLE ** 34.CBRNI | B1C0151 | 5 | 10
34BRN002 | 3/4 x 1-1/2 RED BRASS NIPPLE ** 34.112BRNI | B1C0152 | 5 | 10
34BRN003 | 3/4 x 2 RED BRASS NIPPLE ** 34.2BRNI | B1C0153 | 5 | 10
34BRN004 | 3/4 x 2-1/2 RED BRASS NIPPLE ** 34.212BRNI | B1C0154 | 3 | 6
34BRN005 | 3/4 x 3 RED BRASS NIPPLE ** 34.3BRNI | B1C0155 | 5 | 10
34BRN006 | 3/4 x 3-1/2 RED BRASS NIPPLE ** 34.312BRNI | B1C0156 | 3 | 6
12BR010 | 1/2 BRASS CAP ** 1/2 BRASS CAP | B1D005 | 3 | 6
12BR014 | 1/2 BRASS PLUG ** 12BRTP | B1D010 | 2 | 5
12BR011 | 1/2 BRASS COUPLING ** 1/2 BRASS COUPLING | B1D015 | 2 | 5
12BR009 | 1/2 BRASS TEE FIP ** 12BRT | B1D020 | 1 | 2
12BR005 | 1/2 FIP BRASS 90 ** 12BR90 | B1D025 | 2 | 5
34BR015 | 3/4 X 1/2 BRASS BUSHING ** 3/4 X 1/2 BRASS BUSHING | B1D030 | 3 | 6
34BR001 | 3/4 x 1/2 BRASS REDUCER ** 34.12BRRC | B1D035 | 3 | 6
34BR003 | 3/4 BRASS CAP ** 34BRC | B1D040 | 3 | 6
34BR020 | 3/4 BRASS PLUG ** 3/4 BRASS PLUG | B1D045 | 3 | 6
34BR010 | 3/4 BRASS COUPLING ** 34BRC | B1D050 | 2 | 5
34BR011 | 3/4 FIP BRASS TEE ** 34BRT | B1D055 | 6 | 13
34BR019 | 3/4 BRASS CROSS ** 3/4 BRASS CROSS | B1D060 | 2 | 4
34BR005 | 3/4 FIP BRASS 90 ** 34BR90 | B1D065 | 6 | 13
34BR016 | 3/4 THREADED BRASS UNION ** 3/4 THREADED BRASS UNION | B1D070 | 1 | 3
1BR007 | 1 X 3/4 BRASS BUSHING ** 1 X 3/4 BRASS BUSHING | B1D075 | 3 | 6
1BR005 | 1 x 3/4 BRASS FIP REDUCING COUPLING ** 1.34BRRC | B1D080 | 3 | 6
1BR010 | 1 BRASS CAP ** 1 BRASS CAP | B1D085 | 2 | 4
PLU003 | 1 BRASS PLUG ** 1 BRASS PLUG | B1D090 | 1 | 2
1BR009 | 1 BRASS TEE ** 1 BRASS TEE | B1D095 | 3 | 5
1BR008 | 1 BRASS 90 ** 1 BRASS 90 | B1D100 | 5 | 10
HB004 | 3/4 HOSE BIBB CAP ** 3/4 HOSE BIBB CAP | B1D105 | 6 | 12
38BC005 | 3/8 COMPRESSION CAP ** 3/8 COMPRESSION CAP | B1D115 | 6 | 13
38BC012 | 3/8 COMPRESSION UNION | B1D120 | 3 | 6
38BC011 | 3/8 X 1/4 COMPRESSION UNION | B1D125 | 3 | 6
12BC004 | 1/2 OD X 3/8 MIP BRASS MALE ADAPTER (68-8-6) ** 1/2 OD X 3/8 MIP BRASS MALE ADAPTER (68-8-6) | B1D130 | 2 | 10
34PRP018 | 3/4 LEGEND PROPRESS BALL VALVE (101-004NL) ** 3/4 LEGEND PROPRESS BV (101-004NL) | B2B005 | 2 | 5
1PRP011 | 1 X 3/4 X 1/2 PROPRESS TEE ** 1 X 3/4 X 1/2 PROPRESS TEE | B2B010 | 1 | 2
1PRP014 | 1 X 1/2 X 3/4 PROPRESS TEE ** 1 X 1/2 X 3/4 PROPRESS TEE | B2B015 | 1 | 2
1PRP013 | 1 X 3/4 X 3/4 PROPRESS TEE ** 1 X 3/4 X 3/4 PROPRESS TEE | B2B020 | 1 | 2
1PRP012 | 1 X 3/4 PROPRESS REDUCER COUPLING ** 1 X 3/4 PROPRESS REDUCER COUPLING | B2B025 | 1 | 3
1PRP004 | 1 propress cap ** 1" propress cap | B2B030 | 1 | 5
1CP020 | 1 PROPRESS COUPLING W/STOP ** 1 PROPRESS COUPLING WITH STOP | B2B035 | 5 | 10
1CP001 | 1 PROPRESS REPAIR COUPLING ** PROPRESS 1" COUPLING W/O STOP | B2B040 | 2 | 5
1PRP009 | 1 PROPRESS TEE ** 1 PROPRESS TEE | B2B045 | 1 | 2
1PRP010 | 1 PROPRESS ST 45 ** 1 PROPRESS ST 45 | B2B050 | 1 | 2
1PRP008 | 1 PROPRESS 45 ** 1 PROPRESS 45 | B2B055 | 1 | 2
1PRP017 | 1 PROPRESS STREET 90 ** 1 PROPRESS ST 90 | B2B060 | 2 | 6
1PRP003 | 1 PROPRESS 90 ** PROPRESS 1" CXC 90 | B2B065 | 2 | 5
1PRP006 | 1 PROPRESS MALE ADAPTER ** 1 PROPRESS MALE ADAPTER | B2B070 | 2 | 5
1PRP007 | 1 PROPRESS FEMALE ADAPTER ** 1 PROPRESS FEMALE ADAPTER | B2B075 | 2 | 5
1PRP021 | 1 LEGEND PROPRESS BV (LEGEND) ** 1 PROPRESS BV (LEGEND) | B2B080 | 1 | 2
114PRP001 | 1-1/4 X 1 PROPRESS REDUCER COPULING ** 1-1/4 X 1 PROPRESS REDUCER COPULING | B2B085 | 2 | 5
12PRP016 | 1/2 VIEGA PEX X PROPRESS ADAPTER (97520) ** 1/2 VIEGA PEX X PROPRESS ADAPTER | B2B090 | 4 | 12
34PRP019 | 3/4 VIEGA PEX X PROPRESS ADAPTER ** 3/4 VIEGA PEX X PROPRESS ADAPTER | B2B095 | 6 | 12
1PXV012 | 1 VIEGA PEX X PROPRESS ADAPTER W/ SLEEVE ** 1 VIEGA PEX X PROPRESS ADAPTER | B2B100 | 2 | 10
12PXV005 | 1/2 VIEGA PEX CAP ** 1/2 VIEGA PEX CAP | B2B105 | 5 | 10
12PXV003 | 1/2 VIEGA PEX COUPLING ** 1/2 VIEGA PEX COUPLING | B2B110 | 8 | 17
12PXV006 | 1/2 VIEGA PEX X COPPER TUBE ADAPTER (OUTSIDE) ** 1/2 VIEGA PEX X COPPER TUBE ADAPTER (OUTSIDE) | B2B115 | 6 | 12
12PXV009 | 1/2 VIEGA PEX X COPPER TUBE ADAPTER FITTED (INSIDE) ** 1/2 VIEGA PEX X COPPER TUBE ADAPTER FITTED (INSIDE) | B2B120 | 3 | 6
12PXV004 | 1/2 VIEGA PEX TEE ** 1/2 VIEGA PEX TEE | B2B125 | 3 | 6
12PXV001 | 1/2 VIEGA PEX 90 ** 1/2 VIEGA PEX 90 | B2B130 | 10 | 30
12PXV011 | 1/2 VIEGA PEX DROP EAR 90 ** 1/2 VIEGA PEX DROP EAR 90 | B2B135 | 2 | 5
12PRP006 | 1/2 PROPRESS STREET 45 (77637) ** 12PPS45 | B2C005 | 1 | 2
12PRP005 | 1/2 PROPRESS 45' (77607) ** 12PP45 | B2C010 | 1 | 2
12PRP002 | 1/2 PROPRESS ST 90 (77347) ** 12PPS90 | B2C015 | 1 | 2
12PRP001 | 1/2 PROPRESS 90 (77317) ** 12PP90 | B2C020 | 2 | 4
12PRP007 | 1/2 PROPRESS MALE ADAPTER (79215) ** 12PPMA | B2C025 | 2 | 5
12PRP008 | 1/2 PROPRESS FEMALE ADAPTER (79300) ** 12PPFA | B2C030 | 2 | 5
12PRP014 | 1/2 LEGEND PROPRESS BALL VALVE (101-003NL) ** 1/2 LEGEND PROPRESS (101-003NL) | B2C035 | 2 | 3
34PXV001 | 3/4 X 1/2 VIEGA PEX REDUCING COUPLING ** 3/4 X 1/2 VIEGA PEX REDUCING COUPLING | B2C040 | 3 | 6
34PRP003 | 3/4X1/2 PROPRESS COUPLING (78147) ** 34.12PPC | B2C040 | 1 | 3
12C019 | 1/2 X 1/2 X 3/4 BULLHEAD PROPRESS TEE ** 1/2 X 1/2 X 3/4 BULLHEAD PROPRESS TEE | B2C045 | 1 | 2
34PRP014 | 3/4X1/2 PROPRESS TEE (77402) ** 34.12PPT | B2C050 | 1 | 3
34PRP001 | 3/4 PROPRESS CAP ** 3/4 PROPRESS CAP | B2C060 | 1 | 2
34PRP004 | 3/4 PROPRESS COUPLING (78052) ** 34PPC | B2C065 | 2 | 5
34PRP005 | 3/4 PROPRESS REPAIR CPLG (78177) ** 34PPRC | B2C070 | 2 | 5
34PRP013 | 3/4 PROPRESS TEE (77387) ** 34PPT | B2C075 | 8 | 12
34PRP009 | 3/4 PROPRESS STREET 45 (77053) ** 34PPS45 | B2C080 | 1 | 2
34PRP008 | 3/4 PROPRESS 45 (77023) ** 34PP45 | B2C085 | 1 | 2
34PRP007 | 3/4 PROPRESS STREET 90 (77052) ** 34PPS90 | B2C090 | 1 | 2
34PRP006 | 3/4 PROPRESS 90 (77022) ** 34PP90 | B2C095 | 2 | 10
34PRP010 | 3/4 PROPRESS MALE ADAPTER (79230) ** 34PPMA | B2C100 | 5 | 12
34PRP011 | 3/4 PROPRESS FEMALE ADAPTER (79315) ** 34PPFA | B2C105 | 2 | 5
12C013 | 1/2 COPPER CAP ** 12CK | B2D005 | 6 | 12
12C002 | 1/2 COPPER SLIP CPLG ** 12CCLS | B2D010 | 6 | 12
12C004 | 1/2 COPPER CPLG W/STOP ** 12CCWS | B2D015 | 6 | 12
12C032 | 1/2 Copper Tee - Sweat | B2D020 | 2 | 4
12C008 | 1/2 COPPER ST 90 ELL ** 12CS90 | B2D025 | 3 | 9
12C007 | 1/2 COPPER 90 ELL ** 12C90 | B2D030 | 6 | 12
12C011 | 1/2 COPPER MIP ADPT ** 12CMA | B2D035 | 4 | 9
12C012 | 1/2 COPPER FIP ADPT ** 12CFA | B2D040 | 4 | 8
12C009 | 1/2 COPPER UNION ** 12CU | B2D045 | 1 | 3
34C012 | 3/4 x 3/4 x 1/2 COPPER TEE ** 34.12CT | B2D050 | 1 | 2
34C013 | 3/4 x 1/2 COPPER REDUCER ** 34.12CR | B2D055 | 4 | 8
34C009 | 3/4 COPPER END CAP ** 34CK | B2D060 | 4 | 8
34C001 | 3/4 COPPER CPLG L/STOP ** 34CCLS | B2D065 | 6 | 12
34C002 | 3/4 COPPER CPLG W/STOP ** 34CCWS | B2D070 | 10 | 24
34C007 | 3/4 COPPER TEE ** 34CT | B2D075 | 2 | 4
34C004 | 3/4 COPPER ST 45 ** 34CS45 | B2D080 | 2 | 4
34C003 | 3/4 COPPER 45 ** 34C45 | B2D085 | 2 | 4
34C006 | 3/4 COPPER ST 90 ELL ** 34CS90 | B2D090 | 10 | 24
34C005 | 3/4 COPPER 90 ELL ** 34C90 | B2D095 | 6 | 12
34C010 | 3/4 COPPER MIP ADPT ** 34CMA | B2D100 | 4 | 8
34C011 | 3/4 COPPER FIP ADPT ** 34CFA | B2D105 | 4 | 8
1C016 | 1 x 1 x 1/2 COPPER TEE ** 1.12CT | B2D110 | 1 | 2
1C002 | 1 X 3/4 COPPER REDUCER COUPLING ** 1.34CR | B2D115 | 3 | 9
1C014 | 1 COPPER CAP ** 1CK | B2D120 | 2 | 4
1C009 | 1 COPPER COUPLING L/STOP ** 1CCLS | B2D125 | 1 | 2
1C001 | 1 x 1 x 3/4 COPPER TEE ** 1.34CT | B2D130 | 1 | 2
1C005 | 1 COPPER ST 90 ELL ** 1CS90 | B2D135 | 2 | 4
1C006 | 1 COPPER 90 ELL ** 1C90 | B2D140 | 3 | 6
1C003 | 1 COPPER MIP ADPT ** 1CMA | B2D145 | 2 | 4
114C001 | 1-1/4 COPPER CAP ** 1-1/4 COPPER CAP | B2D150 | 1 | 1
12PRP013 | 1/2 PROPRESS CAP ** PROPRESS 1/2" CAP | B2D155 | 1 | 2
12PRP003 | 1/2 PROPRESS COUPLING (78047) ** 12PPC | B2D160 | 2 | 5
12PRP004 | 1/2 PROPRESS REPAIR COUPLING (78172) ** 12PPRC | B2D165 | 2 | 5
12PRP010 | 1/2 PROPRESS TEE (77377) ** 12PPT | B2D170 | 2 | 5
EXPT006 | 2 GALLON EXPANSION TANK ** 2 GAL THERMAL EXPANSION TANK | B3A005 | 2 | 4
DIS007 | PRO 1100XL 1.1HP DISPOSAL ** PRO1100XL | B3A025 | 0 | 0
DIS005 | PRO 750 3/4 HP DISPOSAL ** PRO750 | B3A030 | 1 | 3
DIS003 | BADGER 5 ISE 1/2HP DISPOSAL ** BADGER 5 | B3A035 | 1 | 3
12SB003 | 1/2 SHARK BITE END CAP ** 12SBK | B3B0051 | 4 | 8
12SB001 | 1/2 SHARK BITE COUPLING ** 12SBC | B3B0052 | 3 | 6
12SB004 | 1/2 SHARK BITE 90 ** 12SB90 | B3B0053 | 4 | 8
34SB005 | 3/4 SHARK BITE END CAP ** 34SBK | B3B0101 | 4 | 8
34SB007 | 3/4 SHARKBITE FEMALE ADAPTER ** 34SBFA | B3B0102 | 2 | 4
34SB009 | 3/4 SHARKBITE COUPLING ** 3/4 SHARKBITE COUPLING | B3B0103 | 1 | 2
34SB002 | 3/4 SHARKBITE MALE ADAPTER ** 3/4 SHARKBITE MALE ADAPTER | B3B0104 | 2 | 4
34SB003 | 3/4 SHARKBITE 90 ** 3/4 SHARKBITE 90 | B3B015 | 4 | 8
1SB001 | 1 X 3/4 SHARKBITE REDUCER COUPLING ** 1SBRC | B3B0153 | 2 | 4
TRK001-D-D | FLUIDMASTER-FILL-VALVE (PR045B) ** FILL-VALVE REPAIR KIT (PR045B) | B3B020 | 6 | 14
TRK002-D-D | FLUIDMASTER FLUSH VALVE (507AK) ** FLUSH VALVE REPAIR KIT (507AK) | B3B025 | 3 | 6
TRK003-D-D | 2 FLUSH VALVE W/FLAPPER (PRO57) ** 2" FLUSH VALVE W/FLAPPER (PRO57) | B3B030 | 3 | 6
TBR001 | JUMBO BOWL WAX W/HORN (90241) ** JBWWH (90241) | B3B045 | 5 | 11
TBR004 | JUMBO WAX RING (90243) ** JUMBO WAX RING (90243) | B3B050 | 6 | 12
TS005 | KOHLER TOILET SEAL ** KOHLER TOILET SEAL | B3B055 | 3 | 6
LAV006 | 1-1/4 CHROME POP UP ASSEMBLY ** 1-1/4 CHROME POP UP ASSEMBLY | B3B060 | 2 | 5
TTR008 | HARVEY TANK TO BOWL KIT (072034-12) ** TTBK | B3B065 | 3 | 6
TCK006 | 3 TANK TO BOWL KIT (C481BP) ** 3" TANK TO BOWL KIT (C481BP) | B3B070 | 3 | 6
12PXV010 | 1/2 VIEGA PEX MALE ADAPTER ** 1/2 VIEGA PEX MALE ADAPTER | B3C005 | 10 | 20
12PXV002 | 1/2 VIEGA PEX FEMALE ADAPTER ** 1/2 VIEGA PEX FEMALE ADAPTER | B3C010 | 6 | 12
34PXV002 | 3/4 X 1/2 X 3/4 VIEGA PEX TEE ** 3/4 X 1/2 X 3/4 VIEGA PEX TEE | B3C020 | 3 | 6
34PXV012 | 3/4 X 3/4 X 1/2 VIEGA PEX TEE ** 3/4 X 3/4 X 1/2 VIEGA PEX TEE | B3C025 | 3 | 6
34PXV004 | 3/4 VIEGA PEX CAP ** 3/4 VIEGA PEX CAP | B3C030 | 5 | 10
34PXV011 | 3/4 VIEGA PEX COUPLING ** 3/4 VIEGA PEX COUPLING | B3C035 | 10 | 21
34PXV009 | 3/4 VIEGA PEX X COPPER TUBE ADAPTER (OUTSIDE) ** 3/4 VIEGA PEX X COPPER TUBE ADAPTER (OUTSIDE) | B3C040 | 3 | 6
34PXV008 | 3/4 VIEGA PEX X COPPER TUBE ADAPTER FITTED (INSIDE) ** 3/4 VIEGA PEX X COPPER TUBE ADAPTER FITTED (INSIDE) | B3C045 | 3 | 6
34PXV003 | 3/4 VIEGA PEX TEE ** 3/4 VIEGA PEX TEE | B3C050 | 4 | 8
34PXV010 | 3/4 VIEGA PEX 90 ** 3/4 VIEGA PEX 90 | B3C055 | 20 | 40
34PXV006 | 3/4 VIEGA PEX MALE ADAPTER ** 3/4 VIEGA PEX MALE ADAPTER | B3C060 | 10 | 20
34PXV007 | 3/4 VIEGA PEX FEMALE ADAPTER ** 3/4 VIEGA PEX FEMALE ADAPTER | B3C065 | 6 | 12
1PXV009 | 1 X 3/4 VIEGA PEX REDUCING COUPLING ** 1 X 3/4 VIEGA PEX REDUCING COUPLING | B3C070 | 3 | 6
1PXV006 | 1 VIEGA PEX TEST PLUG ** 1 VIEGA PEX TEST PLUG | B3C075 | 3 | 6
1PXV007 | 1 VIEGA PEX COUPLING ** 1 VIEGA PEX COUPLING | B3C080 | 10 | 18
1PXV005 | 1 VIEGA PEX X COPPER TUBE ADAPTER FITTED (INSIDE) ** 1 VIEGA PEX X COPPER TUBE ADAPTER FITTED (INSIDE) | B3C085 | 3 | 6
1PXV008 | 1 VIEGA PEX TEE ** 1 VIEGA PEX TEE | B3C090 | 3 | 6
1PXV003 | 1 VIEGA 90 (93560) ** 1 VIEGA 90 (93560) | B3C095 | 6 | 12
1PXV002 | 1 VIEGA PEX MALE ADAPTER ** 1 VIEGA PEX MALE ADAPTER | B3C100 | 5 | 10
1PXV004 | 1 VIEGA PEX FEMALE ADAPTER ** 1 VIEGA PEX FEMALE ADAPTER | B3C105 | 3 | 6
STP015 | 1/2 PEX X 3/8COMP CHROME ANGLE STOP (G2BRP19X) ** 12.38 PX AS 1/4 TURN STOP (G2BRPX19X C) | B3C1102 | 6 | 12
PLMMIS010 | 1/2 KITEC MALE ADAPTER | B3C1151 | 1 | 2
PLMMIS012 | 3/4 KITEC MALE ADAPTER | B3C1152 | 1 | 2
PLMMIS011 | 1 KITEC MALE ADAPTER | B3C1153 | 1 | 2
DIS004 | DISPOSAL CORD ** DC (8130) | B3C120 | 3 | 6
TTR002 | 2 UNIVERSAL KORKY FLAPPER (#2001) ** 2UKF | B3C125 | 5 | 12
TTR006 | KORKY 3 FLAPPER (3060BP) ** KORKY 3" FLAPPER (3060BP) | B3C130 | 4 | 9
DKF003 | DELTA 9178-AR-DST 8CC W/SPRAYER ** DELTA 9178-AR-DST 8CC W/SPRAYER | B4A015 | 0 | 1
DKF009 | DELTA B4310LF-SS SINGLE HANDLE KTICHEN FAUCET 8CC ** DELTA B4310LF-SS SINGLE HANDLE KTICHEN FAUCET 8CC | B4A020 | 0 | 1
DLF011 | DELTA B-510LF LAV FAUCET ** DELTA B-510LF LAV FAUCET | B4A035 | 1 | 1
DSP006 | DELTA T13420 T/S TRIM KIT ** DELTAT13420 | B4A040 | 0 | 1
KSR005 | 1-1/2x16 PVC FLANGED TAILPIECE ** 1-1/2x16 PVC FLANGED TAILPIECE | B4B005 | 2 | 5
KSR006 | 1-1/2 PVC BAGGED P-TRAP ** 1-1/2 PVC BAGGED P-TRAP | B4B010 | 6 | 11
KSR014 | 1-1/2 PVC DISPOSAL KIT (P9100BG) ** 1-1/2 PVC DISPOSAL KIT (P9100BG) | B4B020 | 2 | 4
KSR007 | 1-1/2X8 PVC DISHWASHER TAILPIECE WYE BRANCH ** 1-1/2X8 PVC DISHWASHER TAILPIECE | B4B025 | 1 | 3
KSR009 | 1-1/2 X 16 PVC END OUTLET ** 1-1/2 X 16 PVC END OUTLET | B4B030 | 3 | 6
KSR008 | 1-1/2 X 16 PVC SJ EXTENSION ** 1-1/2 X 16 PVC SJ EXTENSION | B4B035 | 3 | 6
LAV005 | 1-1/4 X 16 PVC SJ EXTENSION TUBE ** 1-1/4 X 16 PVC SJ EXTENSION TUBE | B4B045 | 2 | 5
LAV011 | 1-1/4X12 CHROME SLIP JOINT EXTENSION TUBE | B4B050 | 1 | 1
LAV013 | 1-1/4 17GA CHROME P-TRAP | B4B055 | 1 | 1
KSR031 | 1-1/2 X 16 CHROME END OUTLET | B4B065 | 1 | 3
HVMIS043 | ALL ACCESS CLEANOUT | B4B070 | 1 | 3
KSR021 | DISHWASHER CONNECTOR (BOOT) | B4B075 | 1 | 2
PRV002 | 1 PRESSURE REDUCING VALVE (LF25AUB-Z3) ** 1PRV | B4C005 | 2 | 4
PRV001 | 3/4 PRESSURE REDUCING VALVE (LF25AUB-Z3) ** 34PRV | B4C010 | 2 | 4
TBR007 | 5/16 X 1-3/4 BRASS CLOSET BOLTS ** 5/16 X 1-3/4 BRASS CLOSET BOLTS | B4C020 | 3 | 7
TBR005 | 1/4 x 2-1/4 CLST BOLT SET (R3R-110) ** CBS 2-1/4 (R3R-110) | B4C020 | 3 | 7
TBR009 | SETFAST SELF ADJUSTING CLOSET BOLTS (42443) ** SETFAST SELF ADJUSTING CLOSET BOLTS (42443) | B4C025 | 6 | 18
TTR011 | UNIVERSAL TOILET LEVER ** UNIVERSAL TOILET LEVER | B4C035 | 1 | 3
TBR008 | 1/4 x 3-1/2 BRASS CLOSET BOLTS (40025) ** BCBS 3-1/2 (40025) | B4C040 | 5 | 10
FAE004 | 1/2 IPS ESCUTCHEON ** 1/2 IPS CHROME ESCUTCHEON | B4C045 | 4 | 8
FAE008 | 3/4 IPS ESCUTCHEON ** 3/4 IPS ESCUTCHEON | B4C0501 | 4 | 8
FAE010 | 1/2 OD (3/8IPS) CHROME SPLIT ESCUTCHEON ** 1/2 OD (3/8IPS) CHROME SPLIT ESCUTCHEON | B4C0502 | 2 | 5
FAE009 | 3/4 CTS CHROME ESCUTCHEON ** 3/4 CTS CHROME ESCUTCHEON | B4C055 | 4 | 8
FAE002 | 1/2 CTS ESCUTCHEON ** 1/2 CTS ESCUTCHEON | B4C060 | 10 | 30
FAE005 | 1 IPS CHROME ESCUTCHEON ** 1 IPS CHROME ESCUTCHEON | B4C065 | 4 | 8
KSR016 | KITCHEN BASKET STRAINER CHROME ** MAINLINE BASKET STRAINER | B4C075 | 3 | 6
SUP001 | 3/8COMP x 7/8BC X x 12 SS CLOSET FLEX ** 38.78.12TSL | B4D005 | 6 | 12
SUP003 | 3/8COMP x 1/2FIP X12 SS FAUCET FLEX ** 38.12.12FSL | B4D010 | 6 | 10
SUP004 | 3/8COMP x 1/2 FIP 16 SS FAUCET FLEX ** 38.12.16FSL | B4D015 | 6 | 10
SUP005 | 3/8COMP x 1/2FIP 20 SS FAUCET FLEX ** 38.12.20FSL | B4D020 | 6 | 10
SUP009 | 3/8COMP x 3/8COMP W/90 x 60" DSH CONNECT ** 3/8 COMP X 3/8 COMP X60" DISHWASHER SUPPLY LINE | B4D025 | 4 | 8
SUP010 | 3/4HOSE x 3/4 HOSE 60 SS WSH MACH CONN ** 34.60WML | B4D030 | 4 | 8
SUP016 | 1/4COMP X 1/4COMP SS 6' ICE MAKER SUPPLY ** 14.72IMSL | B4D035 | 1 | 2
SUP019 | 3/8COMP x 7/8BC 16" SS CLOSET FLEX ** 38.78.16TSL | B4D040 | 6 | 12
SUP028 | 3/8 COMP X 3/8 MIP X 20 LAV SUPPLY LINE | B4D045 | 2 | 4
SUP029 | 3/8FIP X 3/8 FIP X20 SUPPLY LINE | B4D050 | 2 | 4
CONS235 | Sioux Chief Wedge-It 460-20 Multi-Purpose Closet Wedge, PVC, White, Domestic ** "WEDGE IT" SOFT PVC MULTI-PURPOSE CLOSET SHIM - Pack/Box/Bag - 100 | B4D075 | 10 | 30
CONS248 | CHINA CAPS ** toilet bolt covers | B4D080 | 9 | 18
CPT006 | 30/5 440V ROUND CAPACITOR ** 30/5MFD 440V ROUND CAPACITOR (P291-3054RS) | C1A005 | 2 | 4
CPT007 | 35/5 370/440 DUAL ROUND CAPACITOR ** 35/5MFD 370/440V DUAL ROUND CAPACITOR (P291-3554RS) | C1A010 | 2 | 4
CPT018 | 40/5 440V ROUND CAPACITOR ** 40/5MFD 440V ROUND CAPACITOR (P291-4054RS) | C1A015 | 2 | 4
CPT008 | 45/5MFD 440V ROUND CAPACITOR ** TITAN TRCFD 455 45+5 ROUND CAPACITOR | C1A020 | 2 | 4
CPT020 | 45/7 440V ROUND CAPACITOR ** 45/7.5MFD 440V ROUND CAPACITOR (P291-4574RS) | C1A025 | 1 | 2
CPT014 | 50 MFD 440V ROUND CAPACITOR ** 50/MFD 440V ROUND CAPACITOR (P291-5054RS) | C1A030 | 2 | 4
CPT036 | 55/5 440V ROUND CAPACITOR ** 55/5MFD 440V ROUND CAPACITOR (P291-5554RS) | C1A035 | 2 | 4
CPT004 | 55/7 ROUND CAPACITOR ** TITAN TRCFD5575 55+7.5MFD ROUND CAPACITOR | C1A040 | 1 | 2
CPT010 | 60/5 ROUND CAPACITOR ** TITAN TRCFD605 60+5MFD ROUND CAPACITOR | C1A045 | 2 | 4
CPT001 | 70/7.5 ROUND CAPACITOR ** TITAN TRCFD7075 70+7.5 CAPACITOR | C1A050 | 1 | 2
CPT013 | 80/5 ROUND CAPACITOR ** TITAN TRCFD805 ROUND CAPACITOR | C1A055 | 1 | 2
CPT038 | 80/7.5 ROUND CAPACITOR ** TITAN TRCFD8075 80/7.5 ROUND CAPACITOR | C1A060 | 1 | 2
HVACP006 | ZOELLER 519-0005 CONDENSATE PUMP - 4140525 ** Little Giant VCC-20ULS Low Profile Vertical Condensate Pump Volts: 115 HP: 1/30 | C1A065 | 2 | 3
DCSW011 | SS1 ** SS1 | C1B005 | 3 | 6
HVAC004 | REC-SS2 ** REC-SS2 | C1B010 | 3 | 6
SAL011 | WET SWITCH FLOOD DETECTOR | C1B020 | 3 | 6
HVLS013 | ICM2038 24V DELAY ON BREAK TIMER | C1B025 | 1 | 4
HVAW016 | REME RELAY (GENERALAIRE) | C1B025 | 2 | 4
HTST004 | ECOBEE 7 T-STAT EB-STATE7P-01 ** ECOBEE 7 Lite | C1B030 | 1 | 2
HTST006 | ECOBEE T-STAT EB-STATE6P-01 ** ECOBEE6 | C1B035 | 1 | 6
HTST031 | PRO1 T725 IAQ PROGRAMMABLE HEAT PUMP THERMOSTAT | C1B0402 | 2 | 3
SAL002 | SMOKE DETECTOR W/ LITHIUM BATTERY (PRC710B) ** SMOKE DETECTOR W/ 9V BATTERY | C1B050 | 1 | 2
HVIG002 | HONEYWELL HOT SURFACE IGNITOR ** HONEYWELL HOT SURFACE IGNITOR | C1B050 | 1 | 3
SAL001 | COMBO SMOKE & CARBON MONOXIDE DETECTOR 9V (SC02B) ** COMBO SMOKE & CARBON MONOXIDE DETECTOR 9V | C1B055 | 3 | 6
34PXP012 | 3/4 PEX X POLYBUTYLENE ADAPTER ** 34PX X POLYBUTYLENE ADPTR | C1B0751 | 2 | 10
SSS009 | 1/2 CTS TWO HOLE STRAP WITH NAILS ** 1/2 CTS TWO HOLE STRAP WITH NAILS | C1C005 | 8 | 18
SSS008 | 3/4 CTS TWO HOLE STRAP WITH NAILS ** 3/4 CTS TWO HOLE STRAP WITH NAILS | C1C010 | 8 | 18
HVAC1058 | 5/8 HOSE CLAMP ** 5/8 HOSE CLAMP | C1C015 | 3 | 6
SS1236A | 1/2 EMT 1H STRAP ** A-09A 1/2" EMT 1H STRAP | C1C020 | 10 | 20
SS1237A | 3/4 EMT 1H STRAP ** A-18A 3/4" EMT 1H STRAP | C1C025 | 10 | 20
SSS018 | 1/2 GALVANIZED 2H STRAP ** 1/2 GALVANIZED 2H STRAP | C1C030 | 1 | 6
MIS126 | 3/4 GALVANIZED 2H STRAP ** 3/4' 2H GALVANIZED PIPE STRAP | C1C035 | 8 | 18
SSS014 | 1 GALVANIZED 2H STRAP ** 1 GALVANIZED 2H STRAP | C1C040 | 10 | 18
MIS137 | 1 1/4 GALVANIZED 2H STRAP ** 1 1/4 GALVANIZED 2H STRAP | C1C045 | 6 | 12
SSS010 | 1 1/2 GALVANIZED 2H STRAP ** 1 1/2 GALVANIZED 2H STRAP | C1C050 | 8 | 12
SSS017 | 2 GALVANIZED 2H STRAP ** 2 GALVANIZED 2H STRAP | C1C055 | 1 | 2
78ACR006 | 7/8OD ACR COPPER ROLL-STOP CPLG ** 78ACRCWS | C1C060 | 4 | 8
78ACR004 | 7/8OD ACR COPPER LT ST90 ELL ** 78ACRLTS90 | C1C065 | 4 | 8
78ACR005 | 7/8OD ACR COPPER LT90 ELL ** 78ACRLT90 | C1C070 | 4 | 8
58ACR003 | 5/8OD ACR COPPER CPLG W/STOP ** 58ACRCWS | C1C090 | 0 | 0
58ACR004 | 5/8OD ACR COPPER LT90 ELL ** 58ACRLT90 | C1C090 | 0 | 0
38ACR004 | 3/8OD ACR COPPER ROLL-STOP CPLG ** 38ACRCWS | C1C095 | 5 | 10
38ACR005 | 3/8OD ACR COPPER LT ST90 ELL ** 3/8" acr elbow st 90 LS | C1C100 | 4 | 8
38ACR007 | 3/8OD ACR COPPER LT90 ELL ** 38ACRLT90 | C1C105 | 0 | 0
CONS207 | SCHRADER VALVE 6pk ** SCHRADER VALVE 6pk | C1C110 | 1 | 10
HVAC055 | R410 RED LOCKING CAP W/KEY (50PK) ** R410 RED LOCKING CAP W/KEY | C1C115 | 6 | 12
CNL1236A | 3/4 LT NM CONDUIT (FT) ** E-04 3/4" LT NM CONDUIT (FT) | C1D010 | 1 | 2
CONS250 | 1/2ID CLEAR DRAIN TUBING ** 1/2ID CLEAR DRAIN TUBING | C1D015 | 1 | 1
CONS251 | 3/8 ID 100' DRAIN TUBE (7-38) ** 3/8" ID 100' DRAIN TUBE (7-38) | C1D020 | 1 | 1
WIR1242A | 10/2 Romex Per Foot | C1D030 | 0 | 1
CPT029 | TURBO 200 2.5-67.5 | C2A005 | 3 | 6
CPT032 | TURBO200X-5-97.5MFD ** TURBOX 5-97.5MFD SGL/DUAL ROUND CAPACITOR (TURBO200X) | C2A010 | 4 | 8
CPT028 | 12.5MFD 440/370 DUAL OVAL CAPACITOR ** TOCF12.5 CAPACITOR RUN OVAL | C2A030 | 1 | 4
CPT022 | 10MFD 440/370 DUAL OVAL CAPACITOR ** 10MFD 440/370 (P291-1004) OVAL CAPACITOR | C2A035 | 1 | 4
CPT011 | 20 MFD 440/370 OVAL CAPACITOR ** TITAN TOCF20 20MFD 440/370V OVAL - 3409550 | C2A040 | 2 | 4
HVLS008 | AT012 UNIVESAL LIMIT SWITCH ** Limit Switch AT012 | C2A045 | 2 | 4
HVSP002 | HVAC SURGE PROTECTOR (AG3000) ** HVAC SURGE PROTECTOR (AG3000) | C2A050 | 2 | 5
HVSP001 | ICM SURGE PROTECTOR (100000AMP) ** ICM SURGE PROTECTOR (100000AMP) | C2A055 | 2 | 5
HVACP003 | CONDENSATE PUMP W/TUBING (PROCP22ST) ** CONDENSATE PUMP W/TUBING (PROCP22ST) | C2A065 | 1 | 2
HVACP004 | LITTLE GIANT CONDENSATE PUMP 230V 554631 ** LITTLE GIANT CONDENSATE PUMP 230V | C2A070 | 1 | 2
TXV002 | Goodman TXV Kit TX5N4 - 3.5-5 Ton - R-410a ** Goodman TXV Kit TX5N4 - 3.5-5 Ton - R-410a | C2A075 | 1 | 2
CONS171 | R11- Flush KIT ** R11- Flush KIT | C2A080 | 1 | 2
HVAC053 | R-11 FLUSH 1lb ** R11 | C2A090 | 1 | 2
HVAC011 | 3/4 R-TRAP ** 3/4 R-TRAP | C2B005 | 3 | 5
HVAC002 | 3/4 pvc p-trap ** 3/4" pvc p-trap | C2B010 | 3 | 6
HTSF003 | PF52475 75V FOOT MOUNTED TRANSFORMER ** PF52475 75V FOOT MOUNTED TRANSFORMER | C2B015 | 1 | 2
HTSF002 | 40V FOOT MOUNTED TRANSFORMER ** 40V FOOT MOUNTED TRANSFORMER | C2B020 | 2 | 4
CNT001 | 1P 24V 30A DEFINITE PURPOSE CONTACTOR W/LUG ** C130A 30A SINGLE Pole CONTACTOR | C2B030 | 3 | 3
CNT004 | 2P 24V 30A DEFINITE PURPOSE CONTACTOR W/LUG ** 2P 24V 30A DEFINITE PURPOSE CONTACTOR W/LUG | C2B035 | 2 | 4
CNT003 | 2P 24V 40A DEFINITE PURPOSE CONTACTOR W/LUG ** C240A 40A 2 POLE CONTACTOR | C2B040 | 2 | 6
GDH1237A | GE 20A 2P THIN BREAKER (THQP220) ** D-03C GE 20A 2P THIN BREAKER (THQP220) | C2B060 | 1 | 2
GDF1242A | GE 20A 2P BREAKER (THQL2120) ** D-03D GE 20A 2P BREAKER (THQL2120) | C2B060 | 1 | 2
GDF1254A | GE 30A 2P BREAKER (THQL2130) ** D-05D GE 30A 2P BREAKER (THQL2130) | C2B060 | 1 | 2
GDF1275A | GE 50A 2P BREAKER (THQL2150) ** D-07D GE 50A 2P BREAKER (THQL2150) | C2B060 | 1 | 2
GDH1235A | GE 15A 2P THIN BREAKER (THQP215) ** D-01C GE 15A 2P THIN BREAKER (THQP215) | C2B060 | 2 | 4
GDF1281A | GE 60A 2P BREAKER (THQL2160) ** D-08A GE 60A 2P BREAKER (THQL2160) | C2B060 | 0 | 0
GDH1241A | GE 30A 2P THIN BREAKER (THQP230) ** D-05C GE 30A 2P THIN BREAKER (THQP230) | C2B065 | 1 | 2
SBR001 | SIEMANS 30AMP Breaker (Q230) ** SIEMANS 30AMP Breaker (Q230) | C2B070 | 1 | 2
SQQ1282A | SQD 20A 2P BREAKER QO220 | C2B075 | 2 | 4
SQQ1303A | SQD 30A 2P BREAKER QO230 | C2B075 | 0 | 0
SBR002 | SIEMANS 20AMP Breaker (Q220) ** SIEMANS 20AMP Breaker (Q220) | C2B075 | 1 | 2
EL052 | CH 25AMP 2 POLE BREAKER (CHF225) ** CH 25AMP 2 POLE BREAKER (CHF225) | C2B075 | 0 | 0
GDF1266A | GE 40A 2P BREAKER (THQL2140) ** D-06D GE 40A 2P BREAKER (THQL2140) | C2B080 | 1 | 2
CPT1247A | 3/8 MC/AC TWO SCREW CONNECTOR ** A-01C 3/8" MC/AC TWO SCREW CONNECTOR | C2B0851 | 10 | 20
MIS003 | 1-1/2 ROMEX CONNECTOR ** 1-1/2 ROMEX CONNECTOR | C2B0853 | 2 | 5
FUS011 | 3A BLADE FUSE (PURPLE) - 5 PACK ** 3AMP FUSE ATC BLADE TYPE (PER EACH) | C2C0051 | 5 | 10
FUS022 | 5A BLADE FUSE (YELLOW) - 5 PACK ** 5AMP FUSE ATC BLADE TYPE (PER EACH) | C2C0052 | 5 | 10
FUS002 | 15A DUAL ELEMENT FRN FUSE ** A-54A 15A DUAL ELEMENT FRN FUSE | C2C010 | 1 | 2
FUE1237A | 20A DUAL ELEMENT FRN FUSE | C2C015 | 1 | 2
FUE1238A | 25A DUAL ELEMENT FRN FUSE | C2C020 | 1 | 4
FUE1239A | 30A DUAL ELEMENT FRN FUSE | C2C025 | 1 | 2
FUS006 | 35A DUAL ELEMENT FRN FUSE ** A-54e 35A DUAL ELEMENT FRN FUSE | C2C030 | 1 | 4
FUS007 | 40A DUAL ELEMENT FRN FUSE ** A-54F 40A DUAL ELEMENT FRN FUSE | C2C035 | 1 | 2
FUS008 | 50A DUAL ELEMENT FRN FUSE ** A-54G 50A DUAL ELEMENT FRN FUSE | C2C040 | 1 | 2
FUS009 | 60A DUAL ELEMENT FRN FUSE ** A-54H 60A DUAL ELEMENT FRN FUSE | C2C045 | 0 | 0
HVHS004 | HARDSTART U2 KIT (1-3 ton) ** HSU2 | C2C050 | 4 | 8
HVHS001 | 3 Wire Hard Start Kit 3.5-5 Ton CSR-U2 ** 3 Wire Hard Start Kit 3.5-5 Ton CSR-U2 | C2C055 | 4 | 8
DCSW009 | 4X2 SINGLE GANG UTILITY BOX ** 4X2 SINGLE GANG UTILITY BOX | C2C060 | 1 | 2
DIST1265A | WHT TOGGLE SWCH 15A 1P PREF (M52-RS115-2WM) ** AA-01 WHT TOGGLE SWCH 15A 1P PREF (M52-RS115-2WM) | C2C065 | 1 | 1
34ACR008 | 3/4OD ACR COPPER ROLL-STOP CPLG ** 34ACRCWS | C2C070 | 3 | 5
HVAC009-D | 3/4" LT 90' ** 3/4 LIQUID TIGHT 90 | C2C075 | 3 | 5
CT009 | 1/2" LT CONNECTOR ** 1/2 LIQUID TIGHT COUPLING | C2C080 | 3 | 5
HVAC001-D | 1/2" LT 90' ** 1/2 LIQUID TIGHT 90 | C2C085 | 3 | 7
HVAC014 | 3/8 BIFLOW FILTER DRIER ** 3/8 BIFLOW Filter DRIER (SA) | C2C090 | 2 | 5
RMX013 | 8/2 ROMEX PER FT (125FT ROLL) ** 8/2 ROMEX Per FT | C2D025 | 0 | 1
HVMTR004 | 5460 DIRECT DRIVE BLOWER MOTOR REPLACEMENT ** 5460 DIRECT DRIVE BLOWER MOTOR REPLACEMENT | C3A005 | 1 | 3
HVMTR003 | 5462 RESCUE CONDENSER MOTOR 1/3 TO 1/6 HP ** 5462 RESCUE CONDENSER MOTOR 1/3 TO 1/6 HP | C3A010 | 1 | 3
HVAC025 | 6-12-6NM ULTRA-WHIP 1/2IN-10/3 AWG ** 6-12-6NM ULTRA-WHIP 1/2IN-10/3 AWG | C3A020 | 1 | 3
HVAC006 | 3/4 WHIP (ATX) ** 3/4 WHIP (ATX) | C3A025 | 2 | 5
DCSW017 | 30 AMP NON-FUSED DISCONNECT ** 30 AMP NON-FUSED DISCONNECT | C3B005 | 1 | 4
DIA1240A | 60A AC FUSED DISCONNECT | C3B020 | 1 | 4
SAL009 | Outdoor High Water Alarm - Reinli Stock - JB15HII-MF ** Outdoor High Water Alarm | C3B025 | 1 | 3
HVAC001 | 2X2 VIBRATION PAD ** 2X2 VIBRATION PAD(EACH) | C3B030 | 4 | 8
WHRP016 | Rheem SP11698 Electric Upper Thermostat and Limit - 161245 ** Rheem SP11698 Electric Upper Thermostat and Limit | C3B035 | 2 | 4
WHRP012 | SP11695 ELECTRIC LOWER TSTAT ** SP11695 ELECTRIC LOWER TSTAT | C3B040 | 2 | 4
WHE003 | SP10552PH 5500 ELEMENT ** SP10552PH 5500 ELEMENT | C3B045 | 2 | 4
WHE002 | SP10552ML 4.5KW ELEMENT ** SP10552ML 4.5KW ELEMENT | C3B055 | 2 | 4
HLVW003 | 18/8 TSTAT WIRE (PER ROLL) ** 18/8 TSTAT WIRE (PER ROLL) | C3C005 | 1 | 1
HVAQ010 | SOLARIS SLX-POWERPRO-4LV ** SLX-POWERPRO-4LV | C3C015 | 3 | 8
HVAQ012 | SOLARIS PREFilter IONIZER (SLX-PG5T) ** SOLARIS PREFilter IONIZER (SLX-PG5T) | C3C020 | 3 | 8
HVAQ011 | SOLARIS 12'ADD A LIGHT W/SHIELD (AAL-12) ** SOLARIS 12'ADD A LIGHT W/SHIELD (AAL-12) | C3C025 | 4 | 16
HVAQ009 | SOLARIS PCOSLX-AAL-PCO ** SOLARIS PCOSLX-AAL-PCO | C3C030 | 3 | 8
78ACR008 | 7/8X50 ACR SOFT COPPER (PER FT) ** 7/8X50 ACR SOFT COPPER (PER FOOT) | C3D005 | 1 | 3
34ACR009 | 3/4X50 ACR Soft Copper (PER FT) ** 3/4X50 ACR Soft Copper (PER FT) | C3D010 | 50 | 150
58ACR005 | 5/8X50 ACR SOFT COPPER (PER FOOT) ** 5/8X50 ACR SOFT COPPER ROLL (PER FOOT) | C3D015 | 50 | 50
38CS003 | 3/8 SOFTCOPPER per ft ** 38L SOFT | C3D020 | 1 | 3
ARF006 | 5/8 OR 7/8 X 1/2 WHITE LINE SET INSULATION / UV WRAP ** 5/8 OR 7/8 X 1/2 WHITE LINE SET INSULATION / UV WRAP | C3D025 | 0 | 1
ARF002 | 3/4 X 1 WALL ARMAFLEX-NON SPLIT ** 3/4 X 1 WALL ARMAFLEX-NON SPLIT | C4A005 | 4 | 12
ARF004 | 7/8 X 1 Wall Armaflex Non-Split - ** 7/8 X 1 Wall Armaflex Non-Split | C4A015 | 4 | 12
HREF004 | R-410A REFRIGERANT (Per Ounce) | C4A020 | 25 | 50
HREF002 | R-32 REFRIGERANT (Per Ounce) | C4A035 | 0 | 0
CPB012 | 30X6 FURNACE STAND ** 30X6 FURNACE STAND | C4B005 | 4 | 20
ARF005 | 1-1/8 X 1/2 WALL ARMAFLEX-NON SPLIT PER 6FT ** 1-1/8 X 1/2 WALL ARMAFLEX-NON SPLIT (ATX) PER 6FT | C4B010 | 4 | 12
DBLW013 | 4 B VENT FEMALE ADAPTER ** 4 B VENT FEMALE ADAPTER | C4B010 | 2 | 5
HVACM001 | #S-CLEAT PER FT ** SNAP-ON RAILS (SA) | C4B020 | 6 | 12
CPT1238A | 3/4 NM/SE TWO SCREW CONNECTOR ** A-29B 3/4" NM/SE TWO SCREW CONNECTOR | C4B0854 | 5 | 10
DBLW016 | 4 B-VENT 90 Ell ** 4BV90 | C4C005 | 1 | 2
DBLW011 | 4 B VENT ADJ 45 ** 4 B VENT ADJ 45 | C4C010 | 2 | 4
VPD020 | 4 B-VENT CONNECTOR (DRAFT HOOD) ** 4BVC | C4C015 | 1 | 2
VPD044 | 3 B VENT 90 | C4C020 | 2 | 4
VPD019 | 4 B VENT STORM COLLAR ** 4 B VENT STORM COLLAR | C4C0251 | 1 | 2
DBLW014 | 4 B VENT PIPE COLLAR ** 4 B VENT PIPE COLLAR | C4C0252 | 1 | 2
DBLW019 | 4 x 12 ADJUST LENGTH B-VENT ** 4.12ABV | C4C030 | 1 | 2
DBLW020 | 4 x 12 B-VENT PIPE ** 4.12BV | C4C035 | 1 | 2
DBLW002 | 3 X 12 B VENT PIPE ** 3 X 12 B VENT PIPE | C4C040 | 3 | 5
VPD039 | 5 x 4 B-VENT INCREASER ** 4.5BVI | C4C0451 | 1 | 1
VPS009 | 4 Roof Cap ** 4DVC | C4C0452 | 1 | 2
VPD024 | 4X6 B-VENT PIPE ** 4.6BV | C4C050 | 1 | 4
VPS005 | 3 SINGLE WALL FLEXIBLE B VENT ** 3 FLEX B VENT 1-3' | C4C055 | 2 | 4
DBLW025 | 4 x 36 B-VENT PIPE ** 4.36BV | C4C060 | 4 | 8
DBLW023 | 4 X 3 Double Wall FLEXIBLE B VENT PIPE ** 4" X 3 DOUBLE WALL FLEXIBLE B VENT PIPE | C4C065 | 2 | 4
WHRP007 | Rheem SP8371B - Anode Rod Flexible - 1356949 ** Rheem SP8371B - Anode Rod Flexible | C4D005 | 2 | 4
WHRP008 | SP11526C RESISTOR ANODE ROD - FAT ** SP11526C RESISTOR ANODE ROD - FAT | C4D010 | 3 | 5
WHP004 | 22 ALUMINUM W/H PAN ** 22WHP | C4D015 | 2 | 2
WHP003 | 24 ALUMINUM W/H PAN ** 24WHP | C4D020 | 2 | 2
WHRP005 | AP12938 ALUM ANODE ROD ** AP12938 ALUM ANODE ROD | C4D025 | 2 | 4
PLU049 | 3 TEST BALL | CONSUM1 | 1 | 3
CONS156 | Deck Screw 6x2 Phillips head Jar 100pc ** Deck Screw 6x2 Phillips head Jar 100pc | CONSUM1 | 2 | 6
PLU044 | 1-1/2 TEST BALL | CONSUM1 | 1 | 2
CONS241 | WIRE NUT ORANGE 100PK ** WIRE NUT ORANGE 100PK | CONSUM1 | 2 | 5
CONS129 | 2 BRUSH ** 2" BRUSH | CONSUM2 | 4 | 12
PLU047 | 4 TEST BALL | CONSUM2 | 1 | 2
PLU046 | 3" EXTENSION TEST BALL EXTENSION HOSE | CONSUM2 | 3 | 6
CONS135 | BLACK DUCT TAPE 2 X 60 YD ** BLACK DUCT TAPE 2 X 60 YD | CONSUM2 | 1 | 5
PLU034 | 2 Sewer Plug | CONSUM2 | 1 | 2
PLU035 | 3 Sewer Plug | CONSUM2 | 1 | 2
PLU036 | 4 MECHANICAL PLUG | CONSUM2 | 1 | 2
CHEM004 | WHITLAM FLOW32 FLOW-AIDE SYSTEM ** FLOW-AID DESCALER 32OZ | CONSUM3 | 2 | 6
CONS192 | BIo-Clean - BIOCLEAN ** BIo-Clean | CONSUM3 | 1 | 1
CONS127 | DUCT SEALANT GALLON ** DUCT SEALANT GALLON | CONSUM3 | 4 | 12
CONS232 | SILVER FOIL TAPE 3 X 60 YDS ** SILVER FOIL TAPE 3 X 60 YDS | CONSUM3 | 6 | 18
CONS260 | HVAC FOIL TAPE | CONSUM3 | 6 | 18
CONS010 | DRAIN SOLVE ** DRAIN SOLVE (ATX) | CONSUM3 | 1 | 2
CONS300 | BLACK DUCT STRAPPING | CONSUM3 | 1 | 1
CONS122 | LEAK DETECTOR 16OZ ** LEAK DETECTOR 16OZ | CONSUM3 | 1 | 1
CONS183 | 100% SILICONE CLEAR CAULK 10.1 OZ ** 100% SILICONE CLEAR CAULK 10.1 OZ | CONSUM4 | 1 | 3
CONS186 | 1# SILFOS 15 STICK SILVER SOLDER 15% ** 1# SILFOS 15 STICK SILVER SOLDER 15% | CONSUM4 | 1 | 2
CONS203 | LEAK DETECTOR TABLET ** LEAK DETECTOR TABLET | CONSUM4 | 3 | 10
CONS305 | MAPP GAS | CONSUM4 | 2 | 5
CONS109 | 1# LEAD FREE SOLDER CANFIELD ** 1# LEAD FREE SOLDER CANFIELD | CONSUM4 | 1 | 3
PLMMIS002 | 4X8 PLYWOOD ** 4X8 PLYWOOD | DOCK | 1 | 2
CONS307 | 12X12 PAVER | DOCK | 2 | 4
CONS201 | BAGGED PEA GRAVEL PEBBLES .5 CUFT ** BAGGED PEA GRAVEL PEBBLES .5 CUFT | DOCK | 2 | 4
HVACD001 | DUCTBOARD ** DUCTBOARD | DOCK | 4 | 36
HREF005 | R-454B REFRIGERANT (Per Ounce) | FLOOR | 40 | 100
34CPCP-PIPE | 3/4 CPVC PIPE PER FOOT ** 3/4 CPVC PIPE PER FOOT | PIPE RACK | 10 | 20
CP1L | 1L HARD COPPER PER FT | PIPE RACK | 20 | 40
12PXV008 | 1/2 STRAIGHT RED VIEGA PEX SOLD PER FOOT ** 1/2 STRAIGHT RED VIEGA PEX SOLD PER FOOT | PIPE RACK | 20 | 40
12PXV007 | 1/2 STRAIGHT BLUE VIEGA PEX SOLD PER FOOT ** 1/2 STRAIGHT BLUE VIEGA PEX SOLD PER FOOT | PIPE RACK | 20 | 40
34PXV005 | 3/4 STRAIGHT BLUE VIEGA PEX SOLD PER FOOT ** 3/4 STRAIGHT BLUE VIEGA PEX SOLD PER FOOT | PIPE RACK | 20 | 40
CP12L | 1/2L HARD COPPER PER FT ** 1/2" copper pipe L | PIPE RACK | 10 | 40
12CPVP-PIPE | 1/2 CPVC PIPE PER FT ** 1/2 CPVC PIPE PER FT | PIPE RACK | 10 | 20
1CPVC-PIPE | 1 CPVC PIPE PER FOOT ** 1 CPVC PIPE PER FOOT | PIPE RACK | 10 | 20
CP34L | 3/4L HARD COPPER PER FT ** 3/4L HARD COPPER PER FT | PIPE RACK | 20 | 40
12PVCSCH40-PIPE | 1/2 SCH 40 PVC PIPE PER FOOT ** 1/2 SCH 40 PVC PIPE PER FOOT | RACK | 10 | 20
34PVC-PIPE | 3/4 PVC PIPE PER FT ** 34.10PVCP | RACK | 2 | 8
1PCV-PIPE | 1 PVC Pipe per ft ** 1.10PVCP | RACK | 20 | 40
2PVCSCH40-PIPE | 2X20 SCH40 PVC PIPE PER FOOT ** 2X20 SCH40 PVC PIPE PER FOOT | RACK | 20 | 40
CONS119 | COIL CLEANER EVAP FOAM SPRAY ** COIL CLEANER EVAP FOAM SPRAY | ZZ100 | 0 | 0
CONS231 | COOL GEL ** COOL GEL | ZZ100 | 0 | 0
CONS233 | SPRAY FOAM ** SPRAY FOAM | ZZ100 | 0 | 0
4PVC021 | 4 PVC DWV 60 Bend ** 4" PVC DWV 60 Bend | ZZ100 | 1 | 1
CPB014 | 32X36 SMALL DRAIN PAN ** 32X36 SMALL DRAIN PAN | ZZ100 | 1 | 5
CPB007 | 32x32x3 CONDENSER PAD ** 32CP | ZZ100 | 2 | 3
CPB008 | 36x36x3 CONDENSER PAD ** 36CP | ZZ100 | 2 | 3
CONS118 | PIPE DOPE ** PIPE DOPE | ZZ100 | 0 | 0
CONS244 | BIG BLUE WIRE NUTS 50PK ** BIG BLUE WIRE NUTS 50PK | ZZ100 | 0 | 0
CONS145 | SPRAY ADHESIVE (315-20) ** SPRAY ADHESIVE (315-20) | ZZ100 | 0 | 0
CONS125 | VACUUM PUMP OIL ** VACUUM PUMP OIL | ZZ100 | 0 | 0
CONS182 | 043032 14OZ PLUMBER'S PUTTY ** PLUMBER'S PUTTY | ZZ100 | 0 | 0
CONS093 | CLEAR TUB CAULK 5.5OZ (DAP) ** CLEAR TUB CAULK 5.5OZ (DAP) | ZZ100 | 0 | 0
CONS146 | 32OZ PVC HD GRAY CEMENT (GLUE ** 32OZ PVC HD GRAY CEMENT (GLUE) | ZZ100 | 0 | 0
CONS133 | 1-1/2 X 10YD OPEN MESH/SAND CLOTH ** 1-1/2 X 10YD OPEN MESH/SAND CLOTH | ZZ100 | 0 | 0
CONS150 | IPS CLEAR PVC CEMENT (GLUE) 32 OZ ** IPS CLEAR PVC CEMENT (GLUE) 32 OZ | ZZ100 | 0 | 0
CONS104 | 1/2" MONSTER TEFLON TAPE ** 1/2 MONSTER TEFLON THREAD TAPE | ZZ100 | 0 | 0
EXP411 | SHUBEE FOOT/SHOE COVERS (SB-WPSC) | ZZ100 | 0 | 0
CONS243 | WIRE NUT RED 100PK ** WIRE NUT RED 100PK | ZZ100 | 0 | 0
CONS092 | WHITE TUB CAULK 5.5OZ (DAP) ** WHITE TUB CAULK 5.5OZ (DAP) | ZZ100 | 0 | 0
CONS147 | HEAT PASTE (G-9000) ** HEAT PASTE (G-9000) | ZZ100 | 0 | 0
CONS107 | PVC PRIMER (30796) PINT ** PVC PRIMER (30796) | ZZ100 | 0 | 0
CONS237 | 8 METAL SAWZALL BLADE (LENOX 227540) ** 8" METAL SAWZALL BLADE (LENOX 227540) | ZZ100 | 0 | 0
CONS239 | 9 WOOD SAWZALL BLADE (6T) ** 9" WOOD SAWZALL BLADE (6T) | ZZ100 | 0 | 0
TWH007 | 3/4 SCALE RX ION SCALE REDUCTION SYSTEM ** 3/4 SCALE RX ION SCALE REDUCTION SYSTEM | ZZ100 | 1 | 4
CONS141 | 3/4 MONSTER TEFLON TAPE ** 3/4 MONSTER THREAD TAPE | ZZ100 | 0 | 0
TWH012 | 1 SCALE RX ION SCALE REDUCTION SYSTEM | ZZ100 | 1 | 4
34PXV013 | 3/4 STRAIGHT RED VIEGA PEX PER FOOT ** 3/4 STRAIGHT RED VIEGA PEX PER FOOT | ZZ100 | 0 | 0
HVAQ005 | Air Purifier HALO-LED Whole Home In- Duct 24v ** Air Purifier HALO-LED Whole Home In- Duct 24v | ZZ100 | 0 | 0
GMVC800805CN | Goodman GMVC800805CN - 100k BTU - Two-Stage Gas Furnace - 80% AFUE-33.375X21X28 | ZZ100 | 0 | 0
TCONT824AS52DB | TCONT824AS52DB | ZZ100 | 0 | 0
GM9S800603BN | Goodman GM9S800603BN -80k BTU -80%AFUE | ZZ100 | 0 | 0
CAPTA3626B4 | CAPTA3626B4 | ZZ100 | 0 | 0
GSXN403010 | Energy-efficient compressor;Copper tube/enahnaced aluminum fin coil-5mm diameter on 1.5-4.0 Ton;Factory-installed filter drier;Fully charged for 15' of tubing length;Service valvess with sweat connections and easy-to-access guage ports;Contactor with lug connection;Ground lug connection;AHRI Certified; ETL Tested | ZZ100 | 0 | 0
SA-WH1015 | AO SMITH 50G ELECTRIC WATER HEATER (SHORT) | ZZ100 | 0 | 0
SA-WH1010 | AO SMITH 40G ELECTRIC WATER HEATER (SHORT) | ZZ100 | 0 | 0
SA-WH1005 | AO SMITH 50G ELECTRIC WATER HEATER (TALL) | ZZ100 | 0 | 0
SA-WH1000 | AO SMITH 40G ELECTRIC WATER HEATER (TALL) | ZZ100 | 0 | 0
SA-WH1025 | AO SMITH 40G GAS WATER HEATER | ZZ100 | 0 | 0
SA-WH1030 | AO SMITH 50G GAS WATER HEATER | ZZ100 | 0 | 0
AMST36CU1400 | AMST36CU1400 AIR HANDLER<br/>SINGLE PIECE GOODMAN 3T<br/>MULTI-POSITION 21-1/8" WIDTH<br/>FACTORY TXV | ZZ100 | 0 | 0
HKTSN10X1 | HKTSN10X1 | ZZ100 | 0 | 0
ASXS6S4810 | ASXS6S4810 | ZZ100 | 0 | 0
CHPE3743C4 | CHPE3743C4 | ZZ100 | 0 | 0
CPB003 | 40X40X3 CONDENSER PAD ** 40X40X3 CONDENSER PAD | ZZ100 | 2 | 3
ARF003 | 7/8 X 1/2 WALL ARMAFLEX-NON SPLIT ** 7/8 X 1/2 WALL ARMAFLEX-NON SPLIT (ATX) | ZZ100 | 2 | 6
CONS138 | IPS 12496 PINT BLUE WET-N-FAST ** IPS 12496 PINT BLUE WET-N-FAST | ZZ100 | 0 | 0
CONS114 | FITTING BRUSH 3/4 ** FITTING BRUSH 3/4" | ZZ100 | 0 | 0
EXP416 | BLACK MAMBA GLOVES L | ZZ100 | 0 | 0
EXP429 | BLACK MAMBA GLOVES-XL | ZZ100 | 0 | 0
CONS151 | HOT PVC CEMENT 1/4PT ** HOT PVC CEMENT 1/4PT | ZZ100 | 0 | 0
CONS158 | NU-CALGON 4291-08 1 GAL COIL CLEANER ** Nu-Calgon 4291-08 NuBrite Coil Cleaner 1 Gallon | ZZ100 | 0 | 0
CONS166 | 4X6X48 FOAM BLOCKS (ATX) ** 4X6X48 FOAM BLOCKS (ATX) | ZZ100 | 0 | 0
DBLW034 | 4 X 48 Double Wall FLEXIBLE B VENT ** 4X48 DOUBLE WALL FLEXIBLE VENTING | ZZ100 | 0 | 0
14BC010 | 1/4 BRASS COMPRESSION UNION ** 1/4" brass compression union | ZZ100 | 0 | 0